## Final List Unemployed Engr
MAHARASHTRA STATE ELECTRICITY DISTRIBUTION CO LTD
NAGPUR RURAL CIRCLE,NAGPUR
LIST OF ESTIMATES FOR GIVING WORK TO UNEMPLOYED ENGINEERS ON LOTTERY BASIS
Sr.No. | S/Dn. | D/C | Name of Estimate | Provision | Amount | Santion No. & Date
1 | Kamptee | Kamptee R | Estimate for providing additional 30 No. Street Light poles under the Sarpanch Grampanchayat Aajani at Village Aajani under Kamptee R D/C, Kamptee S/Dn. | L.T. Line 1 Ph 3 W :- 1.50Km (avg. span 50 mtr.) | 573797.8822 | EE/Mouda/T/ESST/ND(Hon.EM)/17-18/112 DT:- 03.03.2018
2 | Mouda | Borgaon | Estimate for providing additional 45 No. Street Light poles at Village Ashti under Borgaon D/C, Mouda S/Dn | L.T. Line 1 Ph 3 W :- 2.25 Km (avg. span 50 mtr.) | 506535 | EE/Mouda/T/Esst/17-18/ND(Hon. EM)/53 dt.03/03/2018
3 | Mouda | Borgaon | Estimate for providing additional 20 No. Street Light poles at Village Sundargaon under Borgaon D/C, Mouda S/Dn | L.T. Line 1 Ph 3 W :- 1.00 Km (avg. span 50 mtr.) | 236847.0262 | EE/Mouda/T/Esst/17-18/ND(Hon. EM)/49 dt.03/03/2018
| Mouda | Borgaon | Estimate for providing additional 30 No. Street Light poles under the Sarpanch Grampanchayat Pipari at Village Pimpari under Borgaon D/C, Mouda S/Dn. | L.T. Line 1 Ph 3 W :- 1.50 Km (avg. span 50 mtr.) | 302304.0215 | EE/Mouda/T/ESST/ND(Hon.EM)/17-18/ 50 DT:- 03.03.2018
4 | Mouda | Mouda U | Estimate for providing additional 30 No. Street Light poles under the Sarpanch Grampanchayat Isapur at Village Isapur under Mouda U D/C, Mouda S/Dn. | L.T. Line 1 Ph 3 W :- 1.50 Km (avg. span 50 mtr.) | 300004.661 | EE/Mouda/T/ESST/ND(Hon.EM)/17-18/40 DT:- 03.03.2018
| Mouda | Mouda U | Estimate for providing additional 20 No. Street Light poles under the Sarpanch Grampanchayat Kumbhari at Village Kumbhari under Mouda U D/C, Mouda S/Dn. | L.T. Line 1 Ph 3 W :- 1.00 Km (avg. span 50 mtr.) | 204224.5402 | EE/Mouda/T/ESST/ND(Hon.EM)/17-18/41 DT:- 03.03.2018
5 | Mouda | Mouda U | Estimate for providing additional 50 No. Street Light poles under the Sarpanch Grampanchayat Dhamangaon at Village Dhamangaon under Mouda U D/C, Mouda S/Dn. | L.T. Line 1 Ph 3 W :- 2.50 Km (avg. span 50 mtr.) | 518072.8931 | EE/Mouda/T/ESST/ND(Hon.EM)/17-18/38 DT:- 03.03.2018
6 | Mouda | Mouda U | Estimate for providing additional 60 No. Street Light poles under the Sarpanch Grampanchayat Lapka at Village Lapka under Mouda U D/C, Mouda S/Dn. | L.T. Line 1 Ph 3 W :- 3.00 Km (avg. span 50 mtr.) | 687747.8951 | EE/Mouda/T/ESST/ND(Hon.EM)/17-18/ 36 DT:- 03.03.2018
7 | Kamptee | Yerkheda | Estimate for providing additional 60 No. Street Light poles under the Sarpanch Grampanchayat Bhilgaon at Buddhnagari (5 Pole), Rokade Colony (5 Pole), Hastinapur (12 pole), Goldi Nagar (10 pole), Rishikesh Town (2 pole), Ramvatika (10 pole), Patil Nagar Group D (5 Pole) & Amnabad (10 pole) at Village Bhilgaon under Yerkheda D/C, Kamptee S/Dn | 'L.T. Line 3 Ph 4 W :- 3.00 Km | 675297.2036 | EE/Mouda/T/ESST/DPDC-ND/18-19/10 dt.22/05/2018
8 | Ramtek | Nagardhan | Estimate for providing additional 43 No. Street Light poles under the Sarpanch Grampanchayat Nerla at Village Nerla under Nagardhan D/C, Ramtek S/Dn | 'L.T. Line 3 Ph 4 W :- 2.15 Km | 592498.3674 | EE/Mouda/T/ESST/DPDC-ND/18-19/11 dt.22/05/2018
9 | Mouda | Borgaon | Estimate for providing additional 25 No. Street Light poles at Village Shioni under Borgaon D/C, Mouda S/Dn | L.T. Line 1 Ph 3 W :- 1.25 Km (avg. span 50 mtr.) | 297173 | EE/Mouda/T/Esst/17-18/ND(Hon. EM)/58 dt.03/03/2018
| Mouda | Borgaon | Estimate for providing additional 30 No. Street Light poles at Village Panjra under Borgaon D/C, Mouda S/Dn | L.T. Line 1 Ph 3 W :- 1.50 Km (avg. span 50 mtr.) | 361394.1435 | EE/Mouda/T/Esst/17-18/ND(Hon. EM)/60 dt.03/03/2018
10 | Mouda | Tarsa | Estimate for providing additional 30 No. Street Light poles under the Sarpanch Grampanchayat Narsala at Village Borisingori / Narsala under Tarsa D/C, Mouda S/Dn. | L.T. Line 1 Ph 3 W :- 1.50 Km (avg. span 50 mtr.) | 302304.0215 | EE/Mouda/T/ESST/ND(Hon.EM)/17-18/61 DT:- 03.03.2018
| Mouda | Tarsa | Estimate for providing additional 30 No. Street Light poles at Village Narsala under Tarsa D/C, Mouda S/Dn. | L.T. Line 1 Ph 3 W :- 1.50 Km (avg. Span 50 mtr.) | 338079 | EE/Mouda/T/Esst/17-18/ND(Hon. EM)/80 dt.03/03/2018
11 | Mouda | Tarsa | Estimate for providing additional 10 No. Street Light poles at Village Kumbhapur under Tarsa D/C, Mouda S/Dn. | L.T. Line 1 Ph 3 W :- 0.50 Km (avg. Span 50 mtr.) | 116708 | EE/Mouda/T/Esst/17-18/ND(Hon. EM)/81 dt.03/03/2018
| Mouda | Tarsa | Estimate for providing additional 20 No. Street Light poles at Village Mangli under Tarsa D/C, Mouda S/Dn. | L.T. Line 1 Ph 3 W :- 1.00 Km (avg. Span 50 mtr.) | 226244 | EE/Mouda/T/Esst/17-18/ND(Hon. EM)/82 dt.03/03/2018
| Mouda | Tarsa | Estimate for providing additional 20 No. Street Light poles at Village Babdeo under Tarsa D/C, Mouda S/Dn. | L.T. Line 1 Ph 3 W :- 1.00 Km (avg. Span 50 mtr.) | 229246 | EE/Mouda/T/Esst/17-18/ND(Hon. EM)/83 dt.03/03/2018
12 | Kamptee | Yerkheda | Estimate for replacement of L.T. Line conductor by Aerial Bunched cable & replacement of rusted poles to avoid any electrical accident at Ravidas Nagar, Bhilgaon under Yerkheda D/C, Kamptee S/Dn | L.T.Aerial bunched cable(3x70) :- 2.00 Km L.T. Line pole for replacement:- 12 No. L.T. Line pole for mid Span :- 6 No. | 663794.4772 | EE/Mouda/T/ESST/DPDC-SI/18-19/ 07 dt.25/05/2022
13 | Mouda | Mouda U | Estimate for Shifting of L.T. Line passing through the premises in r/o Shri. Channe to Shri. Sarve, Shri. Gorale to Shri. Mate & Grampanchayat Office and providing additional pole in r/o Shri. Potbhare & Shri. Meshram at Village Anjangaon under Mouda U D/C, Mouda S/Dn | L.T. Line 3 Ph 4 W :- 1.50 Km | 347340.2878 | EE/Mouda/T/Esst/17-18/SI(Hon. EM)/51 dt.03/03/2018
| Mouda | Mouda U | Estimate for Shifting of L.T. Line passing through the premises in r/o Shri. Anil Amchare, Shri. Keshav Patil & Shri. Shivcharan Madankar at Village Lapka under Mouda U D/C, Mouda S/Dn | L.T. Line 3 Ph 4 W :- 1.20 Km | 278831.9521 | EE/Mouda/T/Esst/17-18/SI(Hon. EM)/62 dt.03/03/2018
14 | Mouda | Borgaon | Estimate for providing additional 3X25 KVA DTC at Village Ghotmundhari under Borgaon D/C, Mouda S/Dn | L.T. Line 3 Ph 4 W :- 0.60 Km H.T. Line :- 0.48 Km T/F :- 3X25 KVA | 632610.0964 | EE/Mouda/T/Esst/17-18/SI(Hon. EM)/77 dt.03/03/2018
15 | Mouda | Borgaon | Estimate for shifting of One No. 100 KVA DTC at Village Shioni under Borgaon D/C, Mouda S/Dn | L.T. Line 3 Ph 4 W :- 0.60 Km H.T. Line :- 0.78 Km Shifting of 100 KVA T/F DP :- 1 No. | 532767.3454 | EE/Mouda/T/Esst/17-18/SI(Hon. EM)/81 dt.03/03/2018
16 | Mouda | Borgaon | Estimate for providing additional 3X25 KVA DTC at Village Panmara Toli under Borgaon D/C, Mouda S/Dn | L.T. Line 3 Ph 4 W :- 0.60 Km H.T. Line :- 0.48 Km T/F :- 3X25 KVA | 640961.7991 | EE/Mouda/T/Esst/17-18/SI(Hon. EM)/99 dt.03/03/2018
17 | Mouda | Borgaon | Estimate for Shifting of L.T. Line passing through the premises in r/o Shri. Wasudeo Nanotkar, Smt. Shali Chaware, Shri. Kewal Chakole, Shri. Krushana Padole & Shri. Govinda Marbate at Village Gowari under Borgaon D/C, Mouda S/Dn | L.T. Line 3 Ph 4 W :- 1.20 Km | 280489.7366 | EE/Mouda/T/Esst/17-18/SI(Hon. EM)/103 dt.03/03/2018
| Mouda | Borgaon | Estimate for Shifting of L.T. Line passing through the premises of Hanuman Mandir to Shri. Mukundji Akare at Village Mohadi under Borgaon D/C, Mouda S/Dn | L.T. Line 3 Ph 4 W :- 1.20 Km | 278190.3761 | EE/Mouda/T/Esst/17-18/SI(Hon. EM)/104 A dt.03/03/2018
18 | Ramtek | Aroli | Estimate for shifting of 3X25 KVA Single Phase T/F near the premises in r/o Shri. Anandrao Nikule at Village Kodamendhi under Aroli D/C, Ramtek S/Dn | L.T. Line 3 Ph 5 W :- 0.05 Km H.T. Line :- 0.05 Km Shifting of 3X25 KVA Single Phase T/F :- 1 No. | 205301.3963 | EE/Mouda/T/ESST/SI/17-18/103 Dt:- 08/12/2017
| Ramtek | Aroli | Estimate for shifting of One No. 3X15 KVA Single Phase & One No. 100 KVA DTC to solve the problem of attaining breakdown at Village Sawangi under Aroli D/C, Ramtek S/Dn | L.T. Line 3 Ph 4 W :- 0.15 Km Shifting of 3X15 KVA Single Phase T/F DP :- 1 No. Shifting of 100 KVA T/F :- 1 No. | 344510.5607 | EE/Mouda/T/ESST/SI/17-18/107 Dt:- 26/02/2018
19 | Mouda | Gumthala | Estimate for providing additional 100 KVA T/F at Gada Road at Village Lihigaon under Gumthala D/C, Mouda S/Dn | As per Sheet | 321318 | EE/Mouda/T/Esst/17-18/SI(Hon. EM)/229 dt.03/03/2018
| Mouda | Gumthala | Estimate for shifting of HT/LT Line & T/F from the farm in r/o Shri. Sewak Uikey at Village Lihigaon under Gumthala D/C, Mouda S/Dn | As per Sheet | 294161.814 | EE/Mouda/T/Esst/17-18/SI(Hon. EM)/231 dt.03/03/2018
20 | Khaperkheda | Mahadula | Estt. for supply to 18 no. add Str. Lgt. Pole at Vg. Bokhara | AB Cable--2.2 KM | 780415 | EEII/T/NGP/ND / 16-17/ 22 Dt. 22.6.16
21 | Kalmeshwar | Dhapewada | Estimate for providing50 No. add pole for Street Light conn. at Sillori under Dhapewada DC Kalmeshwar sdn. | LT--3.00 KM | 764945 | EE / T / SAO/N.D. / 17-18 / 20 DATE 19.5.17
22 | Parshioni | Parsheoni Urban | Estt for shifting Existing HT line 33 KVKhapa - Parshioni feeder from Government layout at Sr.No. 657/2 | 33 KV OH Line :- 0.54 km | 816570 | EEII/T/NGP/SI/16-17/39 Dt.2.12.16
23 | Khaperkheda | Patansawangi Urban | Estt. for errection of 1 no. 100 KVA TF to biffercate load & to solve overloading low voltage problem of Satpute TF at Vg. Patasawangi under Patasawangi(U) D/C Khaperkheda S/dn. | HT--0.5,LT--0.47,100KVAX1 | 788740 | EE / T / SAO/S.I. / 17-18 /28 DATE 6.6.17
24 | Khaperkheda | Patansawangi Rural | Estimate for errection of 100 KVA Transformer at location NR Shatrughana Sawerkar filed at Walni road to bifurgate the load of overload transformer DTC No. 4364056 Bhaurao Patil DP and also link Walni Feeder under patansawangi Rural DC of Khaperkheda Subdivision. | HT--1.0,LT--0.12,100KVAX1 | 888220 | EE / T / SAO/S.I. / 17-18 /34 DATE 6.6.17
25 | K,Kheda | Mahadula | Estimate for shifting of 2 No. of Distribution TF[ 4364034 & 4364522 ] in front of Buddha Vihar at Vg Nanda on request of Sarpanch Gram Panchayat Lonkhairy under Mahadula DC of Khaperkheda Sub Division | HT--0.5,LT--0.12,100KVAX2 | 781190 | EEII/T/SAO/S-I/17-18/64 Dt. 12.09.17
26 | K,Kheda | KPD Urban | Estimate for reorientation of 11 KV OH line to U/G cable of 11 KV Khaperkheda feeder over the premises of consumers from Ward No. 2 Shiv nagar at Vg.Pota ( Chankapur ) under Khaperkheda (U) DC Khaperkheda Sub Division | 11 KV 185 Sqmm :- 600 mtr. | 1030645 | EEII/T/SAO/S-I/17-18/65 Dt. 22.09.17
27 | Khaperkheda | Mahadula | Estimate for Providing HT mid pole to increase in road height , ground clearences has been reduced at road crossing & other various development activities of LT line too to avoid accidents & providing safety at Vg.Babulkheda & Tandulwani under Mahadulla D.C. Khaperkheda S/dn. | HT--8 pole & LT--6 Pole | 860300 | EE / T / SAO /SI /18-19 / 1 DATE 13.4.18
28 | Khaperkheda | Mahadula | Estimate for Providing HT mid pole to increase in road height , ground clearences has been reduced at road crossing & other various development activities of LT line too to avoid accidents & providing safety at Vg.Chicholi under Mahadulla D.C. Khaperkheda S/dn. | HT--4 pole & LT--6 Pole | 927520 | EE / T / SAO /SI /18-19 /10 DATE 25.4.18
29 | KLM | KLM R-I | Estimate for upgradation of 11 KV U/G cable of 11 KV Gondkhairy Feeder at Katol road Bye Pass near MIDC at Vg.Kalmeshwar under Kalmeshwar R-1 D/C Kalmeshwar S/Dn. | HT Cable :- 2 x 140 mtr. ( XLPE 185 sqmm ) | 878335 | EEII/T/NGP/SI/16-17/47 Dt.30.3.17
30 | Saoner | Saoner Urban | Estimate for shifting of DTC 4365346 at Mahajan Layout to safe location to avoid accidents at Vg. Saoner under Saoner (U) D.C.Saoner S/dn. | HT Cable 95 sqmm :- 340 mtr,100KVA X 1 | 1038800 | EE/T/SAO/S-I/17-18/86 Dt. 28.3.18
31 | Sawargaon | Pipla | Providing additional 1 no of 25x3 KVA TF due to Overloading of existing 1 phase 25x3 KVA TF | HT--0.18,LT-0.24,25KVAX3 | 508589 | EE/K/T/ESTT/SWG/S.I./(DPDC)/17-18/59 DT.17/05/2017
32 | Sawargaon | Pipla | Providing additional 1 no of 25x3 KVA TF due to Overloading of existing 1 phase 25x3 KVA TF | HT--0.54,LT-0.24,25KVAX3 | 606953 | EE/K/T/ESTT/SWG/S.I./(DPDC)/17-18/68 DT.17/05/2017
33 | Sawargaon | Zilpa | Providing additional 1 no of 25x3 KVA TF due to Overloading of existing 1 phase 25x3 KVA TF | HT--0.12,LT-0.60,25KVAX3 | 639562 | EE/K/T/ESTT/SWG/S.I./(DPDC)/17-18/93 DT.18/05/2017
34 | Mohpa | Mohapa R2 | Providing 1 ph 25x3 KVA against overloading of existing DTC at vg Pilkapar | HT--0.30,LT-0.36,25KVAX3 | 597758 | EE/K/T/ESTT/MHP/S.I./(DPDC)/17-18 /105 DT.18/05/2017
35 | Mohpa | Tk2 | Providing 1 ph 25x3 KVA against overloading of existing DTC at vg Hetisurla | HT--0.36,LT-0.78,25KVAX3 | 727253 | EE/K/T/ESTT/MHP/S.I./(DPDC)/17-18 /102 DT.18/05/2017
36 | Mohpa | Tk2 | Providing 1 ph 25x3 KVA against overloading of existing DTC at vg Sonoli | HT--0.06,LT-0.42,25KVAX3 | 526489 | EE/K/T/ESTT/MHP/S.I./(DPDC)/17-18 /104 DT.18/05/2017
37 | Jalalkheda | Bharsingi | Providing additional 1 no of 25x3 KVA TF due to Overloading of existing 1 phase 25x3 KVA TF | HT--0.6,LT-0.6,25KVAX3 | 520000 | EE/K/T/ESTT/JKD/S.I./(DPDC)/17-18/123 DT.18/05/2017
38 | Jalalkheda | Jalalkheda | Providing of 1 ph 25x3 KVA TF at various laocation under Jalakheda S/dn | HT--0.6,LT-0.6,25KVAX3 | 520000 | EE/K/T/ESTT/JKD/S.I./(DPDC)/17-18/124 DT.18/05/2017
39 | kondhali | Ridhora | Estimate for shifting of 33 KV HT line from Residential house to wide road to avoid accident in Sawargaon | HT--0.78 KM | 819716 | EE/K/T/ESTT/KND/S.I./(DPDC)/16-17/32 DT.28/02/2017
40 | Sawargaon | Pipla | Estimate for bifurgation of RCI load on exsting DTC 4561276 centre DP vg. Mohagaon | HT--0.24,LT-0.48,100KVAX1 | 619814 | EE/K/T/ESTT/SWG/S.I./(DPDC)/16-17/38 DT.18/05/2017
41 | Sawargaon | Pipla | Estimate for bifurgation of AG load on exsting DTC 4561456 Surkar DP | HT--0.24,LT-0.60,100KVAX1 | 537032 | EE/K/T/ESTT/SWG/S.I./(DPDC)/16-17/39 DT.28/02/2017
42 | Jalalkheda | Khairgaon | Estimate for providing 1 No. 25X3 KVA T/F to bifurcate the load of existing DTC 4560335 at village Khairgaon under Khairgaon D/C, Jalalkheda S/dn. | HT--0.6,LT-0.6,25KVAX3 | 533191 | EE/Katol/T/Esst/DPDC-SI/17-18/149 dt 7.3.18
43 | Katol | Katol R I | Estimate for providing 1 No. 100 KVA T/F to avoid overloading of existing TF Nahar DP( DTC Code: 4351327) at village Waghoda under Katol R I D/C, Katol S/dn. | HT--0.54,LT-0.12,100KVAX1 | 501033 | EE/Katol/T/Esst/DPDC-SI/17-18/151 dt 7.3.18
44 | Narkhed | Narkhed(U) | Estimate for providing 24 hrs supply to The exisiting consumer Principal S.G.K. ITI at Narkhed shivar under Narkhed(U) D/C, Narkhed S/dn. | HT--0.42,25KVAX3 | 544222 | EE/Katol/T/Esst/DPDC-SI/18-19/154 dt 4.5.18
45 | Narkhed | Belona | Estimate for providing supply to 40 no of Additional street light poles connection in R/o Sarpanch Gram Panchayat Belona | LT--2.42 | 540951 | EE/K/T/ESTT/NKD/(DPDC)ND Street light/17-18 /73 DT.017/05/17
46 | Jalalkheda | Jamgaon | Estimate for providing supply to 60 no of Additional street light poles connection in R/o Sarpanch Gram Panchayat Khapa | LT--3.6 | 773527 | EE/K/T/ESTT/NKD/(DPDC)ND Street light/16-17 /40 DT.30/11/16
47 | Mohapa | Telkamptee 2 | Estimate for providing supply to 1 no of DLF connection in R/o Smt Shama Sunil Mankikar | HT--1.2,LT-0.24,25KVAX1 | 736257 | EE/K/T/ESTT/MHP/(DPDC)ND -DLF/16-17 /35 DT. 16/11/16
48 | Mohapa | Mohapa R2 | Estimate for providing supply to 1 no of 10 HP PWW connection in R/o Sarpanch Gram panchayat Piplkepar | HT--0.6,LT-0.24,100KVAX1 | 529731 | EE/K/T/ESTT/MHP/(DPDC)ND/16-17 /59 DT 1/4/17
49 | Kondhali | Kondhali R2 | Estimate for 51 no. of Additional street light pole connection in R/o Sarpanch Gram Panchayat Garamsur (Tanda) and maraksur (kondhali) | LT--3.04 | 612502.28 | EE/K/T/Estt/KND/DPDC ND Street light/ 17-18/84 DT 27/06/17
50 | Katol | Khangaon | Estimate for 40 no. of Additional street light pole connection in R/o Sarpanch Gram Panchayat Fetri | LT--2.4 | 517417 | EE/K/T/Estt/KTL/DPDC ND Street light /17-18/86 DT 3/07/17
51 | Jalalkheda | Khairgaon | Estimate for 40 no. of Additional street light pole connection in R/o Sarpanch Gram Panchayat Thugavdeo (Devgram) | LT--2.4 | 518699 | EE/K/T/Estt/JKD/DPDC ND Street light 17-18/87 DT 3/07/17
52 | Jalalkheda | Bharsingi | Estimate for providing additional 50 Nos. Street Light poles at village Rohana in the request of Sarpanch Gram Panchayat Rohana under Bharsingi D/C, Jalalkheda S/Dn. | HT--0.48,LT-3.00,25KVAX1 | 941895 | EE/K/T/Estt/KTL/DPDC ND DLF /17-18/107 DT 18.11.17
53 | Kondhali | K'sawanga | Estimate for supply to 50 No additional street light in r/o Sarpanch Gram Panchayat Mendhepathar at Village Mendhepathar under K'sawangaD/C, Katol | LT--3.00 KM | 648019 | EE/K/T/Estt/KTL/DPDC ND /17-18/124 DT 26.3.18