## Sheet1
DPDC (ND + SI ) & SCP WORKS in NUC for Unemployed Engineers FOR 2018-19
Hon' ble MLA | Sr. No. | D/N | Name of estimate | Technical Details | [5 empty] | Name of DC | Name of S/dn | Amount IN Rs | Sanction No
|  |  |  | T/F | HT |  | LT
[5 empty] | O/H | U/G | O/H | U/G | others
Hon. Shri. Chandrashekhar Bawankule | 1 | BTBR | Estimate for supply to 10 No. Additional street light pole at vg. Khapri Rly under Khapri D/C, Butibori S/Dn. |  |  |  | 3 PH 5 W:-0.5 KM |  |  | Khapri | BTBR | 260796 | EEB/T/Butibori S/dn/DPDC-ND St light/17-18/37/Dt:-03.03.2018
Hon'ble Shri.Sameer Meghe | 2 | BTBR | Estimate for supply to additional street light pole 02 No. at village Metaumri under Mohgaon D/C, Hingna S/dn. |  |  |  | 0.06 km |  |  | Mohegaon | Hingna | 44585 | EEB/T/Hingna S/dn/DPDC-ND St light/17-18/47/Dt:-28.03.2018
Hon'ble Shri.Sameer Meghe | 3 | BTBR | Estimate for supply to 03 no. DLF connection in r/o 1) shri Ankush chandrabhan bhojane 2) smt. Rama santosh vanarase 3) Shri. Ranuji kisan vanarase at katandhara slum area near water tank katandhara runder Hingna R-II D/C, Hingna S/Dn. |  |  |  | 1 PH 3W:- 0.12 km |  |  | Hingna R-II | Hingna | 50391 | EEB/T/Hingna S/dn/DPDC-ND St light/17-18/33/Dt:-25.01.2018
Hon'ble Shri.Sameer Meghe | 4 | BTBR | Revised Estimate for providing additional oles at Nimita society Issasani at vg:- Hingna under Hingna R-I D/C under Hingna S/Dn. |  |  |  | 0.48 km |  |  | Hingna R-I | Hingna | 174943 | EEB/T/Hingna S/dn/DPDC-ND St light/17-18/04/Dt:-19.04.2017
Hon'ble Shri.Sameer Meghe | 5 | BTBR | Revised Estimate for providing supply to 7 Nos. of additional ST.light poles connection in R/O. S.P.G.P. Junawani at vg:-Junawani under Hingna R-II D/C under Hingna S/Dn. |  |  |  | 0.27 km |  |  | Hingna R-II | Hingna | 89723 | EEB/T/Hingna S/dn/DPDC-ND St light/17-18/05/Dt:-19.04.2017
Hon'ble Shri.Sameer Meghe | 6 | BTBR | Estimate for providing dupply to 10 Nos. additional st.light pole cinnection at Hanuman nagar wanadongri d/c under Hingna s/dn. |  |  |  | 1.20 km |  |  | Wanadongri | Hingna | 296204 | EEB/T/Hingna S/dn/DPDC-ND St light/17-18/19/Dt:-09.05.2017
Hon'ble Shri.Sameer Meghe | 7 | BTBR | Estimate for providing supply to 14 Nos. of additional street light poles at vg:- Deoli Kalbande under Adegaon d/c under Hingna s/dn. |  |  |  | 0.84 km |  |  | Adegaon | Hingna | 184679 | EEB/T/Hingna S/dn/DPDC-ND St light/17-18/20/Dt:-09.05.2017
Hon'ble Shri.Sameer Meghe | 8 | BTBR | Estimate for supply to 02 No. single phase DLF connection in r/o 1) shri vidhydhar G. Junghare H. No 583 ward No.5 2) shri purushottam B. Admane H. No. 359, ward No.5 at Kanholibara under kanholibara d/c, Hingna S/dn. |  |  |  | LT line 1 ph.3w Route length :- 0.28 km |  |  | Kanholibara | Hingna | 152216 | EEB/T/Hingna S/dn/DPDC-ND St light/17-18/27/Dt:-19.07.2017
Hon'ble Shri.Sameer Meghe | 9 | BTBR | Estimate for supply to 03 no. DLF connection in r/o 1) shri. Prabhunath B. Mishra 2) shri. Surendra munnilal Bisen H. No.47 A 3) shri. Gajanan ambadasji yerekar H.no. 18/2 at Warghane layout butibori under buribori U D/C, Butibori S/Dn. |  |  |  |  | cable 50 SQMM:-0.2 km |  | Butibori (U) | BTBR | 122914 | EEB/T/Butibori S/dn/DPDC-ND St light/17-18/34/Dt:-25.01.2018
Hon. Shri. Chandrashekhar Bawankule | 10 | CNDN | Estimate forLT extension for the residence ofShri.Haribhau Ankush Dhote, Maa Vaishnavi Housing Society, Hudkeshwar Khurd under Hudkeshwar D/C, Ngp S/Dn-1. |  |  |  | 0.18 |  |  | Hudkeshwar | hudkeshwar sub dn | 60134 | EE-R1/NGP/T/ESST/ND/17-18/88 Date :- 10.10.2017
Hon. Shri. Chandrashekhar Bawankule | 11 | CNDN | Estimate for LT extension up to the residences of 1.Shri.Murlidhar K. Kawalkar, 2.Shri.Pravin K.Thakare, 3.Shri.Bisen Laxman Lekurwale, 4.Smt.Pushpa Haridwar, 5.Smt.Malti Ravindra Kumar, 6.Shri.Dilip Krushnarao Thakare, Kh.No.128/2/129, Swastik Housing Society, under Hudkeshwar D/C, Ngp S/Dn-1. |  |  |  | 0.9 |  |  | Hudkeshwar | hudkeshwar sub dn | 390196 | EE-R1/NGP/T/ESST/ND/17-18/92 Dt:-07.10.2017
Hon. Shri. Chandrashekhar Bawankule | 12 | CNDN | Estimate for LT extension near the house of Smt.Sulabha Manoj Walake, Plot No.2, Unnati Housing Society, Kargir Nagar, Beltarodi under Hudkeshwar D/C, Ngp S/Dn-1. |  |  |  | 0.24 |  |  | Hudkeshwar | hudkeshwar sub dn | 71489 | EE-R1/NGP/T/ESST/ND/17-18/90 Dt:- 10.10.2017
Hon. Shri. Chandrashekhar Bawankule | 13 | CNDN | Estimate for LT extension upto the house of Smt.Kavita Bhimrao Rautwar, P.No.23, outer Ring road, Amar Society, under Hudkeshwar D/C, Nagpur S/Dn-1.(DTC code - 4361604) (PM Office complaint No.19407 Dt :- 05.08.2017) |  |  |  | 0.6 |  |  | Hudkeshwar | hudkeshwar sub dn | 213242 | EE-R1/NGP/T/ESST/ND/17-18/107 Date :- 16.01.2018
Hon. Shri. Chandrashekhar Bawankule | 14 | CNDN | Estimate for providing 20 No.Street Light Poles in Ward No.04, Rewati Nagar, Besa, under Hudkeshwar D/C, Ngp S/Dn-1. (ZP Letter no.1845 Dt :- 08.05.2017) |  |  |  | 1 |  |  | Hudkeshwar | hudkeshwar sub dn | 440805 | EE-R1/NGP/T/ESST/ND/17-18/108 Date :- 11.12.2017
Hon. Shri. Chandrashekhar Bawankule | 15 | CNDN | Estimate for extending LT line up to the house of Smt.Asha Kishor Lokhande, Plot No.33, Vg.Kirnapur under Hudkeshwar D/C, Ngp S/Dn-1. (DTC code - 4367262) |  |  |  | 0.3 |  |  | Hudkeshwar | hudkeshwar sub dn | 85840 | EE-R1/NGP/T/ESST/ND/18-19/08 Dt :- 12.04.2018
Hon. Shri. Chandrashekhar Bawankule | 16 | CNDN | Estimate for LT Line extension of 4No. Poles from PS-19 to PS-24 at Vidya Nagar under Hudkeshwar D/C, Ngp S/Dn-1.(DTC code - 4367264) |  |  |  | 0.2 |  |  | Hudkeshwar | hudkeshwar sub dn | 96135 | EE-R1/NGP/T/ESST/ND/18-19/06 Dt :- 12.04.2018
Hon. Shri. Chandrashekhar Bawankule | 17 | CNDN | Estimate for LT Line extension of 4No. Poles from Pole No.Km 54 & Km 53 at Swagat Nagar under Hudkeshwar D/C, Ngp S/Dn-1.(DTC code - 4367407) |  |  |  | 0.2 |  |  | Hudkeshwar | hudkeshwar sub dn | 96893 | EE-R1/NGP/T/ESST/ND/18-19/02 Dt :- 12.04.2018
Hon. Shri. Chandrashekhar Bawankule | 18 | CNDN | Estimate for extending LT line up to the house of Shri.Suyog Manohar Chanore, Plot No.89, Pawanputra Housing Society, Hudkeshwar Khurd under Hudkeshwar D/C, Ngp S/Dn-1. (DTC code - 4367610) |  |  |  | 0.25 |  |  | Hudkeshwar | hudkeshwar sub dn | 81846 | EE-R1/NGP/T/ESST/ND/18-19/04 Dt :- 12.04.2018
Hon. Shri. Chandrashekhar Bawankule | 19 | CNDN | Estimate for additional 12 No. St.Lt Poles at various locations in Shriram Nagar, Besa. (Booth No.365 to 370 referred by Shri.Kangali Sir) |  |  |  | 0.72 |  |  | Hudkeshwar | hudkeshwar sub dn | 254880 | EE-R1/NGP/T/ESST/ND/18-19/ 41Date :-1.06.208
Hon'ble Shri.Sameer Meghe | 20 | CNDN | Estimate for providing additional LT line up to the residences of 1)Shri.Vitthal Bapurao Khedekar, 2)Shri.Pradeep Bhanudas Nagrale, 3)Shri.Siraj Lal Mohammad Sheikh, 4)Shri.Hariratan Umesh Pande, 5)Smt.Maya Natthuji Madakwar all under Nagpur(W) D/C, Nagpur S/Dn-1. |  |  |  | 0.48 |  |  | Ngp(W) | hudkeshwar sub dn | 160594 | EE-R1/NGP/T/ESST/ND/17-18/60 Date :- 15.07.2017
Hon'ble Shri.Sameer Meghe | 21 | CNDN | Estimate for additional LT line upto the residences of 1)Shri.Yashwant Ramakbal Tiwari, 2)Shri.Janardhan Thakre, 3)Shri.Ishwar Namdeorav Choudhari, 4)Shri.Ganesh Vasant Raut all under Nagpur(W) D/C, Nagpur S/Dn-1. |  |  |  | 0.72 |  |  | Ngp(W) | hudkeshwar sub dn | 271580 | EE-R1/NGP/T/ESST/ND/17-18/62 Date :- 07.09.2017
Hon'ble Shri.Sameer Meghe | 22 | CNDN | Estimate for LT extension for the residence of Shri.Rayvanta Ramu Gadpayle, S.No.621, Plot No.45, near new Mhada Colony, Darshana Society, Vg.Deolameti under Wadi-2 D/C,Nagpur S/Dn-1. |  |  |  | 0.24 |  |  | Wadi-2 | hudkeshwar sub dn | 42541 | EE-R1/NGP/T/ESST/ND/17-18/70 Date :- 07.09.2017
Hon'ble Shri.Sameer Meghe | 23 | CNDN | Estimate for LT extension for the residence of r/o Gayabai Ramesh Meshram, behind Damber Company, Plot No.1651, Ward No.1, Gruh Nirman Society, 8th mile, Vg.Deolameti under Wadi-2 D/C,Nagpur S/Dn-1. |  |  |  | 0.12 |  |  | Wadi-2 | hudkeshwar sub dn | 22518 | EE-R1/NGP/T/ESST/ND/17-18/64 Date :- 07.09.2017
Hon'ble Shri.Sameer Meghe | 24 | CNDN | Estimate for LT extension for the residence of r/o Pushpa Vinayak Shirbhate, H.No.394, Ward No.3, Pushottam Nagar, Vg.Deolameti under Wadi-2 D/C,Nagpur S/Dn-1. |  |  |  | 0.06 |  |  | Wadi-2 | hudkeshwar sub dn | 13437 | EE-R1/NGP/T/ESST/ND/17-18/71 Date :- 07.09.2017
Hon'ble Shri.Sameer Meghe | 25 | CNDN | Estimate for LT extension for the residence of Shri.Ishwar Umrao Narnavre, H.No.24, Ward No.2, Heti, Vg.Deolameti under Wadi-2 D/C,Nagpur S/Dn-1. |  |  |  | 0.06 |  |  | Wadi-2 | hudkeshwar sub dn | 13437 | EE-R1/NGP/T/ESST/ND/17-18/69 Date :- 07.09.2017
Hon'ble Shri.Sameer Meghe | 26 | CNDN | Estimate for LT extension for the residence of Shri.Vinodkumar Shivprasad Sahu, Ward No.3, Plot No.2574, Heti, Vg.Deolameti under Wadi-2 D/C,Nagpur S/Dn-1. |  |  |  | 0.24 |  |  | Wadi-2 | hudkeshwar sub dn | 40529 | EE-R1/NGP/T/ESST/ND/17-18/68 Date :- 07.09.2017
Hon'ble Shri.Sameer Meghe | 27 | CNDN | Estimate for LT extension for the residence of Smt.Urmila Ashok Masram, Plot No.1935, Vg.Waddhamna, under Wadi-2 D/C, Nagpur S/Dn-1. |  |  |  | 0.24 |  |  | Wadi-2 | hudkeshwar sub dn | 51650 | EE-R1/NGP/T/ESST/ND/17-18/76 Date :- 07.09.2017
Hon'ble Shri.Sameer Meghe | 28 | CNDN | Estimate for LT extension for the residence of Smt.Pramila Mohan Ninave, at Tajne Layout, Vg.Waddhamna, under Wadi-2 D/C, Nagpur S/Dn-1. |  |  |  | 0.12 |  |  | Wadi-2 | hudkeshwar sub dn | 30575 | EE-R1/NGP/T/ESST/ND/17-18/75 Date :- 07.09.2017
Hon'ble Shri.Sameer Meghe | 29 | CNDN | Estimate for LT extension for the residence ofShri.Seema Mahavirprasad Sharma, H.No.191, at Rizvi Layout, Vg.Deolameti, under Wadi-2 D/C, Nagpur S/Dn-1. |  |  |  | 0.06 |  |  | Wadi-2 | hudkeshwar sub dn | 13304 | EE-R1/NGP/T/ESST/ND/17-18/84 Date :- 07.09.2017
Hon'ble Shri.Sameer Meghe | 30 | CNDN | Estimate forLT extension for the residence ofShri.Ramu Shrawan Gadpayle, H.No.1896, at New Prashant Co-operative Society, Vg.Deolameti, under Wadi-2 D/C, Nagpur S/Dn-1. |  |  |  | 0.06 |  |  | Wadi-2 | hudkeshwar sub dn | 13304 | EE-R1/NGP/T/ESST/ND/17-18/86 Date :- 07.09.2018
Hon'ble Shri.Sameer Meghe | 31 | CNDN | Estimate forLT extension for the residence ofShri.Chandrabhan Chimaji Chawre, H.No.2586, at Maa Vaishnavi Housing Society, Vg.Waddhamna, under Wadi-2 D/C, Nagpur S/Dn-1. |  |  |  | 0.18 |  |  | Wadi-2 | hudkeshwar sub dn | 33139 | EE-R1/NGP/T/ESST/ND/17-18/83 Date :- 07.09.2017
Hon'ble Shri.Sameer Meghe | 32 | CNDN | Estimate forLT extension for the residence ofShri.Madhuri Kishor Kalaskar, H.No.1832/1, at Baba Trimurti Nagar, Vg.Deolameti, under Wadi-2 D/C, Nagpur S/Dn-1. |  |  |  | 0.12 |  |  | Wadi-2 | hudkeshwar sub dn | 23222 | EE-R1/NGP/T/ESST/ND/17-18/82 Date :- 07.09.2017
Hon'ble Shri.Sameer Meghe | 33 | CNDN | Estimate forLT extension for the residence ofShri.Madhukar Shripat Madavi, H.No.26, at Anand Gruh Nirman Society, Vg.Suraburdi Takiya, under Wadi-2 D/C, Nagpur S/Dn-1. |  |  |  | 0.12 |  |  | Wadi-2 | hudkeshwar sub dn | 23222 | EE-R1/NGP/T/ESST/ND/17-18/87 Date :- 07.09.2017
Hon'ble Shri.Sameer Meghe | 34 | CNDN | Estimate forLT extension for the residence ofShri.Kishor Anandrao Dumbhare, H.No.83, at Nagrik Gruh Nirman Society, Vg.Lawa, under Wadi-1 D/C, Nagpur S/Dn-1. |  |  |  | 0.18 |  |  | Wadi-1 | hudkeshwar sub dn | 53175 | EE-R1/NGP/T/ESST/ND/17-18/80 Date :- 07.09.2017
Hon'ble Shri.Sameer Meghe | 35 | CNDN | Estimate for extending 3 ph 4w LT line near to the house of Hemlata Suresh Ratnaparkhi at Plot No.1416/A/4+5, Manohar Co-operative Housing Society, Gorewada, near Aarti Town under Nagpur (W) D/C, Ngp S/Dn-1. |  |  |  | 0.14 |  |  | Ngp(W) | hudkeshwar sub dn | 119623 | EE-R1/NGP/T/ESST/ND/17-18/126 Date :-03.03.2018
Hon'ble Shri.Sameer Meghe | 36 | CNDN | Estimate for LT line extension up to the residences of Shri.Sanjay Dewaji Kambale & Shri.Mohan Laxmanrao Aambatkar, under Wadi-2 D/C, Ngp S/Dn-1 | [6 empty] | Wadi-2 | hudkeshwar sub dn | 69000 | EE-R1/NGP/T/ESST/ND/18-19/34 Date :-
Hon'ble Shri.Sameer Meghe | 37 | CNDN | Estimate for LT extension for Residence of Shakila Bano Asadahulla Ansari at Plot No.41,Rajlaxmi Society,MSEB Colony Road,Vg.Bokhara under Ngp (W) under Ngp S/Dn. |  |  |  | 0.08 1ph 2w |  |  | Nagpur (W) | hudkeshwar sub dn | 28320 | EE-R1/NGP/T/ESST/ND/18-19/38 Date :-1.06.208
Hon'ble Shri.Sameer Meghe | 38 | CNDN | Estimate for LT extension for Residence Taherbhai Sk.Mohammadbhai Fidvi at P.N.5,6,7,8,10,11 Kh 129 (199),Vg.Lonara under Ngp (W) under Ngp S/Dn. |  |  |  | 0.08 1ph 2w |  |  | Nagpur (W) | hudkeshwar sub dn | 28320 | EE-R1/NGP/T/ESST/ND/18-19/39 Date :-
Hon. Shri. Chandrashekhar Bawankule | 39 | BTBR | Estimate for shifting of LT line at variaus location at villege Rui under khapri d/c. |  |  |  | 0.35 km |  |  | Khapri | BTBR | 215106 | EEB/T/Estt/Butibori S/dn/DPDC Shifting/2017-18/54/Dt:- 03.03.2018
Hon. Shri. Chandrashekhar Bawankule | 40 | BTBR | Estimate for shifting of T/F at villege Vela hari Zopadpatti under khapri d/c. | 100 kva= 01 nos | [5 empty] | Khapri | BTBR | 166898 | EEB/T/Estt/Butibori S/dn/DPDC Shifting/2017-18/57/Dt:- 03.03.2018
Hon'ble Shri.Sameer Meghe | 41 | BTBR | Revised estimate for conversion of 1 Ph, 2w to 3Ph,5w for solving low voltage problem at vg:-Amgaon under Hingna R-II D/C under Hingna S/Dn. | [6 empty] | Hingna R-II | Hingna | 56941 | EE/T/Estt/Hingna S/Dn/ DPDC-SI/17-18/16/26.04.2017
Hon'ble Shri.Sameer Meghe | 42 | BTBR | Estimate for shifting of LT line passing through the premises of shri Namdeo Mukundji Ughade at plot no. 102 mouza Hingna as per IGRF to avoid elecrical accidents under Hingna R-II D/C, Hingna S/dn. |  |  |  | 0.18 KM |  |  | Hingna-R-II | Hingna | 119254 | EEB/T/Estt/Hingna S/dn/DPDC Shifting/2016-17/17/Dt:- 29.03.2017
Hon'ble Shri.Sameer Meghe | 43 | BTBR | Estimate for shifting of 11 KV Rajiv nagar fdr to avoid electical accident at motoshri nagar under wanadongri D/C, Hingna S/dn |  | 0.18 km |  |  |  |  | Wanadongri | Hingna | 140462 | EEB/T/Estt/Hingna S/dn/DPDC Shifting/2017-18/15/Dt:- 16.08.2017
Hon'ble Shri.Sameer Meghe | 44 | BTBR | Estimate for shifting of LT line passing from the house of shri laxmi park wagdhara babde layout to avoid electrical accidents under wanadongri D/C, Hingna S/Dn. |  |  |  |  | cable 95 sqmm:-0.12 km. |  | wanadongri | Hingna | 174475 | EEB/T/Estt/Hingna S/dn/DPDC Shifting/2017-18/45/Dt:- 23.01.2018
Hon'ble Shri.Sameer Meghe | 45 | BTBR | Estimate for conversion of 1 ph,2W to 3 ph,5w for solving low voltage problem near chaudhary layout at vg :- Jageshwarpuri under Hingna R-II D/C under Hingna s/dn | [5 empty] | conversion 1 ph,2w to 3 ph,5w :- 0.72 km | Hingna R-II | Hingna | 236791 | EEB/T/Estt/Hingna S/Dn /SI /17-18/ 01 dtd. 25.4.2017
Hon'ble Shri.Sameer Meghe | 46 | BTBR | Revised estimate for providing additional T/F for load bifergation at vg :- Jaipur under Butibori R-II D/C under butibori s/dn | 63 KVA | 0.42 |  | 0.72 |  |  | butibori R-II | Butibori | 551410 | EEB/T/Estt/Butibori S/Dn /SI /17-18/ 05 dtd. 25.4.2017
Hon'ble Shri.Sameer Meghe | 47 | BTBR | Estimate for providing additional T/F for load bifergation & reduce overloading at vg :- Rama under Butibori R-II D/C under Butibori S/dn | 63 KVA |  |  | 0.42 |  |  | butibori R-II | Butibori | 453975 | EEB/T/Estt/Butibori S/Dn /SI /17-18/ 07 dtd. 25.4.2017
Hon'ble Shri.Sameer Meghe | 48 | BTBR | Estimate for conversion of 1 ph ,3w to 3 ph ,5w at vg :- Alagondi under Butibori (R) D/C under butibori s/dn |  |  |  |  | conversion 1 ph,2w to 3 ph,5w :-0.9 km |  | butibori R-II | Butibori | 229791 | EEB/T/Estt/Butibori S/Dn /SI /17-18/ 28 dtd. 2.05.2017
Hon'ble Shri.Sameer Meghe | 49 | BTBR | Estimate for conversion of 1 Ph ,3 W to 5W due to low voltage problem at takalghat under Takalghat D/C under Butibori S/dn |  |  |  |  | conversion 1 ph,2w to 3 ph,5w :-1.92 km |  | takalghat | Butibori | 250094 | EEB/T/Estt/butibori S/Dn /SI /17-18/ 40 dtd. 9.05.2017
Hon'ble Shri.Sameer Meghe | 50 | BTBR | Estimate for conversion of 1 Ph ,3 W to 5W due to low voltage problem at sukali Beldar under Takalghat D/C under Butibori S/dn |  |  |  |  | conversion 1 ph,2w to 3 ph,5w :-1.92 km |  | takalghat | Butibori | 111535 | EEB/T/Estt/butibori S/Dn /SI /17-18/ 41 dtd. 9.05.2017
Hon'ble Shri.Sameer Meghe | 51 | BTBR | Estimate for conversion of 1 Ph ,3 W to 5W due to low voltage problem at Ganeshpur under Takalghat D/C under Butibori S/dn |  |  |  |  | conversion 1 ph,2w to 3 ph,5w :-2.52 km |  | takalghat | Butibori | 112963 | EEB/T/Estt/butibori S/Dn /SI /17-18/ 42 dtd. 9.05.2017
B | 52 | CNDN | Estimate for Augmentation of T/F from 100 KVA to 200 KVA at Sambhaji Nagar (DTC Code 4367161), under Hudkeshwar D/C,Nagpur S/Dn-1. | Aug 100 to 200 KVA | [5 empty] | Hudkeshwar | Hudkeshwar | 372605 | EE-R1/NGP/T/ESST/DPDC-SI/17-18/122 Date :- 04.09.2017
B | 53 | CNDN | Estimate for Augmentation of T/F from 100 KVA to 200 KVA at Maulinagar Indra Nagar (DTC Code 4367606), under Hudkeshwar D/C,Nagpur S/Dn-1. | Aug 100 to 200 KVA | [5 empty] | Hudkeshwar | Hudkeshwar | 372605 | EE-R1/NGP/T/ESST/DPDC-SI/17-18/124 Date :- 04.09.2017
B | 54 | CNDN | Estimate for Augmentation of T/F from 100 KVA to 200 KVA at Bank of India (DTC Code 4367603), under Hudkeshwar D/C,Nagpur S/Dn-1. | Aug 100 to 200 KVA | [5 empty] | Hudkeshwar | Hudkeshwar | 372605 | EE-R1/NGP/T/ESST/DPDC-SI/17-18/119 Date :- 04.09.2017
B | 55 | CNDN | Estimate for Augmentation of T/F from 100 KVA to 200 KVA at Saubhagya Nagar (DTC Code 4367158), under Hudkeshwar D/C,Nagpur S/Dn-1. | Aug 100 to 200 KVA | [5 empty] | Hudkeshwar | Hudkeshwar | 372605 | EE-R1/NGP/T/ESST/DPDC-SI/17-18/121 Date :- 04.09.2017
B | 56 | CNDN | Estimate for Augmentation of T/F from 100 KVA to 200 KVA at Dubey Nagar-2 (DTC Code 4367187), under Hudkeshwar D/C,Nagpur S/Dn-1. | Aug 100 to 200 KVA | [5 empty] | Hudkeshwar | Hudkeshwar | 372605 | EE-R1/NGP/T/ESST/DPDC-SI/17-18/120 Date :- 04.09.2017
B | 57 | CNDN | Estimate for conversion of LT line from 1ph 2W to 3ph 5W from pole No.DN22 to DN26, Dhobi Nagar, Beltarodi under Hudkeshwar D/C, Ngp S/Dn-1. |  |  |  | Conv 1ph 2W to 3ph 5W :- 0.24 Km |  |  | Hudkeshwar | Hudkeshwar | 42820 | EE-R1/NGP/T/ESST/DPDC-SI/17-18/159 Dt :- 09.02.2018
B | 58 | CNDN | Estimate for conversion of LT line from 3ph 4W to 3ph 5W from pole No.GC40 to GC47, & TN110 to TN113, as per the letter from JE, NMC, Hanuman Nagar Zone under Hudkeshwar D/C, Ngp S/Dn-1. |  |  |  | Conv 1ph 2W to 3ph 5W :- 0.6 Km |  |  | Hudkeshwar | Hudkeshwar | 37780 | EE-R1/NGP/T/ESST/DPDC-SI/17-18/157 Dt :- 09.02.2018
B | 59 | CNDN | Estimate for shifting of 3ph 5W LT Line passing over the Gram Panchayat Bhavan, Gram Panchayat Pipla under Hudkeshwar D/C, Ngp S/Dn-1.(DTC code- 4367188) |  |  |  | 0.2 |  |  | Hudkeshwar | Hudkeshwar | 91914 | EE-R1/NGP/T/ESST/DPDC-SI/17-18/158 Dt :- 09.02.2018
B | 60 | CNDN | Estimate for shifting 2 No.LT Poles IN54 & IN55 in between service road at Indra Nagar, under Hudkeshwar D/C, Ngp S/Dn-1. |  |  |  | 0.12 |  |  | Hudkeshwar | Hudkeshwar | 46999 | EE-R1/NGP/T/ESST/DPDC-SI/17-18/156 Dt :- 09.02.2018
B | 61 | CNDN | Estimate for shifting of 1No.LT Pole passing through the premises of Shri.Subodh Dyandeo Patil, Plot No.243, Kh.No.77/A, Vg.Besa, under Hudkeshwar D/C, Nagpur S/Dn-1. |  |  |  | 0.06 |  |  | Hudkeshwar | Hudkeshwar | 27653 | EE-R1/NGP/T/ESST/DPDC-SI/17-18/183 Dt :- 03.03.2018
B | 62 | CNDN | Estimate for shifting of 1No.LT Pole passing through the premises of Shri.Sharad Kisanji Raghorte, Plot No.01, Swagat Nagar, Vishwajeet Housing Society, under Hudkeshwar D/C, Nagpur S/Dn-1. |  |  |  | 0.06 |  |  | Hudkeshwar | Hudkeshwar | 21544 | EE-R1/NGP/T/ESST/DPDC-SI/17-18/182 Dt :- 03.04.2018
B | 63 | CNDN | Estimate for shifting of LT Line 3ph 4W passing from the house of Shri.Suresh Gulab Malviy, under Gram Panchayat Pipla, under Hudkeshwar D/C, Ngp S/Dn-1. |  |  |  | 0.12 |  |  | Hudkeshwar | Hudkeshwar | 35379 | EE-R1/NGP/T/ESST/DPDC-SI/17-18/153 Dt :- 20.11.2017
B | 64 | CNDN | Estimate for shifting of LT line in r/o Shri.Shrikant S.Kamone, at Swami Samarth Nagar, Vg.Kharbi, under Ngp(E) D/C, Ngp S/Dn-1. |  |  |  | 0.12 |  |  | Ngp(E) | Hudkeshwar | 14504 | EE-R1/NGP/T/ESST/DPDC-SI/18-19/02 Dt :- 07.04.2018
B | 65 | CNDN | Estimate for shifting of 1No.LT Pole passing through the premises of Shri.Natthu Pandhari Thakre, Plot No.30, Lokniwara Housing Society to avoid accident under Hudkeshwar D/C, Ngp S/Dn-1.(DTC code - 4367170) |  |  |  | 0.06 |  |  | Hudkeshwar | Hudkeshwar | 29378 | EE-R1/NGP/T/ESST/DPDC-SI/18-19/05 Dt :- 07.04.2018
B | 66 | CNDN | Estimate for providing 3No.Mid Poles near house of Shri.Laxman Kadu, Shri.Khamdev Kadu & Shri.Ramesh Parale at Solanki Layout under Hudkeshwar D/C, Ngp S/Dn-1.(VIP complaint) |  |  |  | 3No.Midpoles |  |  | Hudkeshwar | Hudkeshwar | 36350 | EE-R1/NGP/T/ESST/DPDC-SI/18-19/07 Dt :- 12.04.2018
B | 67 | CNDN | Estimate for LT Line shifting as per the complaint from Shri.Anil Nandanwar & Pankaj Patil & 4 others from Moundekar Layout, Besa under Hudkeshwar D/C, Ngp S/Dn-1. |  |  |  | 0.24 |  |  | Hudkeshwar | Hudkeshwar | 84960 | EE-R1/NGP/T/ESST/DPDC-SI/18-19/33 Date :-
B | 68 | CNDN | Estimate for providing additional transformer at Manav Shakti Society to avoid overloading problem at Shri Ram Nagar, Besa.(Booth No.365 to 370, Shri.Kangali Sir) | 100 KVA |  | 0.3 | 0.25 |  |  | Hudkeshwar | Hudkeshwar | 650851 | EE-R1/NGP/T/ESST/DPDC-SI/18-19/ Date :-
B | 69 | CNDN | Estimate for conversion of 1ph 2W to 3ph 5W 50 No.Spans under Besa Grampanchayat under Hudkeshwar D/C, Ngp S/Dn-1. (Booth No.371, Shri.Kangali Sir) |  |  |  | 3 |  |  | Hudkeshwar | Hudkeshwar | 450000 | EE-R1/NGP/T/ESST/DPDC-SI/18-19/ Date :-
Hon'ble Shri.Sameer Meghe | 70 | CNDN | Estimate for augmentation of transformer from 100 KVA to 200 KVA to avoid low voltage problem & overloading of existing DTC near Takiya, Vg.Surabardi (DTC code - 4367432) under Wadi-2 D/C, Nagpur S/Dn-1. | Aug 100 to 200 KVA |  |  | 0.06 |  |  | Wadi-2 | Hudkeshwar | 389394 | EE-R1/NGP/T/ESST/DPDC-SI/17-18/132 Date :-04.09.2017
Hon'ble Shri.Sameer Meghe | 71 | CNDN | Estimate for providing AB Cable and midpoles for long span at Dahake layout and Maa Bambleshwari Layout in Godhani Railway village under Ngp (W) D/C, Nagpur S/Dn-1. |  |  |  |  | LT AB 70 Sq.mm Cable :- 1680 Rmt |  | Ngp(W) | Hudkeshwar | 404900 | EE-R1/NGP/T/ESST/DPDC-SI/17-18/139 Dt :- 03.03.2017
Hon'ble Shri.Sameer Meghe | 72 | CNDN | Estimate for conversion of overhead line to AB Cable, providng mid pole at long span, additional stay to improve reliability & safety, replacement of existing bent pole, at Suryavanshi L/O, Godhani Railway Village. |  |  |  |  | LT AB cable 70 Sq.mm :- 1.12 Km |  | Ngp(W) | Hudkeshwar | 347597 | EE-R1/NGP/T/ESST/DPDC-SI/17-18/145 Dt :- 07.09.2017
Hon'ble Shri.Sameer Meghe | 73 | CNDN | Estimate for shifting of HT Line and DP structure near premises of Shri.Dongre, Chicholi Road, Vg.Fetri, under Nagpur (W) D/C, Nagpur S/Dn-1.(Accident prone area) |  |  |  |  | 11 KV XLPE 185 Sq.mm Cable :- 45 Rmt |  | Ngp(W) | Hudkeshwar | 162203 | EE-R1/NGP/T/ESST/DPDC-SI/17-18/142 Dt :- 04.09.2017
Hon'ble Shri.Sameer Meghe | 74 | CNDN | Estimate for shifting of LT line which is creating obstacle for the construction of Water Tank at open space in Shakil Layout, Vg.Bokhara, Ta-Nagpur, under Ngp(W) D/C, Ngp S/Dn-1. |  |  |  | 0.1 |  |  | Ngp(W) | Hudkeshwar | 91957 | EE-R1/NGP/T/ESST/DPDC-SI/17-18/151 Dt :- 11.12.2017
Hon'ble Shri.Sameer Meghe | 75 | CNDN | Estimate for providing 20 No.additional LT pole to arrange load shifting from transformer No.4367444 to 3671269 to avoid any interruption of supply in case of breakdown, & also for load balancing of transformer under Wadi-2 D/C, Ngp S/Dn-1. |  |  |  | 1.2 |  |  | Wadi-2 | Hudkeshwar | 463681 | EE-R1/NGP/T/ESST/DPDC-SI/18-19/23 Dt :- 30.05.2018
Hon'ble Shri.Sameer Meghe | 76 | CNDN | Estimate for shifting of 11 KV line in r/o Shri Satish Jindal, Amravati road, Suprim Roadways Ltd, due to obstacle during construction under Wadi-2 D/C, Ngp S/Dn-1. |  | 0.36 |  |  |  |  | Wadi-2 | Hudkeshwar | 205096 | EE-R1/NGP/T/ESST/DPDC-SI/18-19/32 Date :- 31.05.2018
Hon'ble Shri.Sameer Meghe | 77 | CNDN | Estimate for providing midpoles due to long & less ground clearance at Patanjali premises to avoid accident under Ngp (W) D/C, Ngp S/Dn-1. |  | 0.3 |  |  |  |  | Ngp (W) | Hudkeshwar | 170913 | EE-R1/NGP/T/ESST/DPDC-SI/18-19/35 Date :- 31.05.2018
Hon'ble Shri.Sameer Meghe | 78 | CNDN | Estimate for shifting of 11 KV Line near the premises of Mr.Turkar in order to avoid accident at Vg.Drugdhamna under Wadi-2 D/C, Ngp S/Dn-1. |  | 0.18 |  |  |  |  | Wadi-2 | Hudkeshwar | 102548 | EE-R1/NGP/T/ESST/DPDC-SI/18-19/43 Date :- 01.06.2018
Hon. Shri. Chandrashekhar Bawankule | 79 | Butibori | Estimate For providing of additional LT Line for reliability of supply to consumer under system improvement in dalit wasti area at vg Gotad panjri under Khapri D/C. Butibori S/dn |  |  |  | 0.3 Km |  |  | Khapri | Butibori | 166973 | EEB/T/Estt/DPDC SCP/Butibori s/Dn /17-18/3 DT :-23.10.2017
Hon'ble Shri.Sameer Meghe | 80 | Butibori | Estimate for supply to 01 No.DLF connection in R/O shri.firoz kumar ashok ghadse H.No.19, ward no 1 at vg wathoda under butibori ® D/C, Butibori S/dn. |  |  |  | 1ph 2w: 0.12 km |  |  | Butibori (R) | Butibori | 42611 | EEB/T/ESTT/Butibori S/Dn/DPDC SCP-NSC/17-18/25/Dt:-23.01.2018
Hon'ble Shri.Sameer Meghe | 81 | Butibori | Estimate for supply to 1 no. residential connection in r/o shri Satish Manikrao Manohare at plot no. 32A, Neeta Co-op. Hou. Society, Dabha under Wadi D/C, MIDC-I S/dn. |  |  |  | LT O/H LINE 1PH 2W:-0.20 KM |  |  | Wadi | MIDC-I | 111161 | EEB/T/ESTT/Butibori S/Dn/DPDC SCP-NSC/18-19/1/Dt:-19.07.2018
Hon'ble Shri.Sameer Meghe | 82 | Butibori | Estimate for providing one no. 100 KVA T/F for load bifurcation of existing T/F(4562429) and to provide reliable power supply to consumers at village Ganeshpur under Takalghat dc, Butibori S/dn. | 1 X 100 KVA |  |  |  | LT AB CABLE 70 SQMM:-0.2 KM |  | Takalghat | Butibori | 507077 | EEB/T/ESTT/Butibori S/Dn/DPDC SCP-SI/18-19/03/Dt:-27.06.2018
Hon'ble Shri.Sameer Meghe | 83 | Butibori | Estimate for replacement of rusted RSJ pole and providing AB cable at ward no. 4 Takalghat under Takalghat DC , Butibori S/dn |  |  |  |  | LT AB CABLE 70 SQMM:-0.55 KM |  | Takalghat | Butibori | 415749 | EEB/T/ESTT/Butibori S/Dn/DPDC SCP-SI/18-19/06/Dt:-23.08.2018
Hon'ble Shri.Sameer Meghe | 84 | Butibori | Estimate for providing LT cable to avoid lenghty service connection , load bifurcation of existing t?f and to provide reliable power suppy to consumers at kosari pura, Shringare hall, & vithhal madir vg. Takalghat under Takalghat dc, Butibori S/dn. |  |  |  |  | LT AB CABLE 70 SQMM:-2.4 KM |  | Takalghat | Butibori | 874267 | EEB/T/ESTT/Butibori S/Dn/DPDC SCP-SI/18-19/07/Dt:-30.08.2018
Hon. Shri. Sudhakar Deshmukh | 85 | CNDN | Estimate for conversion of OH HT line to HT UG Cable in part of 11 KV Hill Top feeder near DTc 4681181 as the same is covered with trees and accident prone under Gokulpeth D/C, Shankar Nagar Sub-division. |  |  | 150 |  |  |  | Gokulpeth | Shankar Nagar | 421165 | EE/CNDN/TECH/DPDC-SI/2018-19/04 dt. 25.05.2018 |  |  | HT XLPE cable 3C 185 sq.mm -150 Rmt
Hon. Shri. Devendra Fadanvis | 86 | CNDN | Estimate for shifting LT pole no. TK 45to Birsa Munda Sabagruh ,Takiya under Dhantoli DC , Regent Sub dn. |  |  | 60 |  | 45 |  | Dhantoli | Regent | 37003 | EE/CNDN/Tech/DPDC-SCP/2018-19/2 dt.09.07.2018
Hon. Shri. Devendra Fadanvis | 87 | CNDN | Estimate for supply to 1 no. Residential connection in r./o Amrapali Ramkrushna Kamble at plot no. 23, Saicharan Society , Chinchbhavan , Somalwada Dc, Trimurti nagar Sub Division |  |  |  |  | 90 |  | Somalwada | Trimurti nagr | 88351 | EE/CNDN/Tech/DPDC-SCP/2018-19/03 dt.09.07.2018
| 88 | CNDN | Estimate for providing DLF connection in r/o Shri.Rupesh Sukhdeve, p. NO.55, Pawansut Nagar under Hudkeshwar D/C, Ngp S/Dn-1.(DTC code-4367181) |  |  |  | 0.2 |  |  | hudkeshwar |  | 85970 | EE-R1/NGP/T/ESST/scp -dlf/18-19/02 Dt:-10.05.2018
| 89 | CNDN | Estimate for providing DLF connection in r/o Shri.Milind Sevakadas Shevade, H.No.31, kh.No.117,118, Railway Kamgar Gruh Milan Nirmal Sanstha, Vg.Bokhara under Nagpur (W) D/C, |  |  |  | 0.06 |  | 70 SQMM ab CABLE -150 RMT | Nagpur (W) |  | 108828 | EE-R1/NGP/T/ESST/scp -dlf/18-19/04 Dt:-31.07.2018
Hon. Shri. Devendra Fadanvis | 90 | CNDN | Estimate for shifting of LT Pole by PM/75 infront of gate of Smt. Sanghmitra Suresh Gajbhiye Plot No 66, Agne Layout under Telecom Nagar D/C, Trimurti Nagar Sub-division |  |  |  |  | 90 |  | Telecom | Trimurti nagar | 146818 | EE/CNDN/Tech/DPDC-SI/2018-19/15 dt.25.05.2018 |  | L.T. XLPE Armoured cable120 sq.mm.-90 Rmt
Hon. Shri. Devendra Fadanvis | 91 | CNDN | Estimate for providing service feeder pillar at Gedam layout as per public request as the existing UG service cable of consumers are from pole No BT/38 and BT/37 which are at long distance and there is no pole exist near for service cable of consumers under Trimurti Nagar D/C, Trimurti Nagar sub-division. |  |  |  |  | 70 |  | Trimurti nagar | Trimurti nagar | 176024 | EE/CNDN/Tech/DPDC-SI/2018-19/16 dt.25.05.2018 |  | L.T. XLPE Armoured cable120 sq.mm.-70 Rmt
Hon. Shri. Devendra Fadanvis | 92 | CNDN | Estimate for conversion of Lt overhead line to AB cable under Accident prone area from the premises of Shri. Prakash Bagade 730/C/3 Kachipura, Ramdaspeth under Dhantoli D/C Regent Sub-division | [5 empty] | AB cable -180 Rmt | Dhantoli | Regent | 125803 | EE/CNDN/Tech/DPDC-SI/2018-19/23 dt.25.05.2018 |  | LT AB Cable (3x120)-180 Rmt
Hon. Shri. Devendra Fadanvis | 93 | CNDN | Estimate for shifting of LT OH line pole no D715 near to the house of shri. Ramlal Mangalji Kathore house No BMZ119Q, Kachipura under dhantoli D/C, Regent Sub-division | [5 empty] | Pole -2 Nos | Somalwada | Trimurti nagar | 27901 | EE/CNDN/Tech/DPDC-SI/2018-19/17 dt.25.05.2018 |  | LT RSJ Pole-125*70 -8 Mtr-2 Nos
Hon. Shri. Devendra Fadanvis | 94 | CNDN | Estimate for shifting of Lt Pole No D-586B from the oremises of Consumer Shri. Shankar Sukhram Uikey under Dhantoli D/C, Regent Sub-division | [5 empty] | Pole-1 No | Dhantoli | Regent | 16359 | EE/CNDN/Tech/DPDC-SI/2018-19/20 dt.25.05.2018 |  | LT RSJ Pole 125x70 8 Mtr long -1 No
Hon. Shri. Devendra Fadanvis | 95 | CNDN | Estimate for shifting of LT "Pole by conversion of LT OH line to underground cable at Ganesh Gruh Nirman Society Pannase Layout Nagpur under Jaitala D/C |  |  |  |  | 180 |  | Jaitala | Trimurti nagar | 247110 | EE/CNDN/Tech/DPDC-SI/2018-19/14 dt.25.05.2018 |  | L.T. XLPE Armoured cable185 sq.mm.-180 Rmt
Hon. Shri. Devendra Fadanvis | 96 | CNDN | Estimate for electrification of partial area of Maratha Seva Sangh Gruhnirman Sahakari Sanstha jaitala, Napur under Jaitala D/C, Trimurti Nagar Sub-division. |  |  |  |  | 150 |  | Jaitala | Trimurti nagar | 264057 | EE/CNDN/Tech/DPDC-SI/2018-19/13 dt.25.05.2018 |  | L.T. XLPE Armoured cable185 sq.mm.-150 Rmt
Hon. Shri. Devendra Fadanvis | 97 | CNDN | Estimate for Conversion of Lt OH line to LT UG cable from the premises of Shri. Shyam N. Wandhile at Plot No 39, Sim Takali, Mangaldham Society Nagpur under Jaitala D/C, Trimurti Nagar Sub-division for safety purpose Complaint received under Samadhan Shibir |  |  |  |  | 140 |  | Jaitala | Trimurti nagar | 231896 | EE/CNDN/Tech/DPDC-SI/2018-19/25 dt.25.05.2018 |  | L.T. XLPE Armoured cable185 sq.mm.-140 Rmt
Hon. Shri. Devendra Fadanvis | 98 | CNDN | Estimate for providing Backfeeding arrangement at Sasane Layout Hingna Road under Jaitala D/C, Trimurti Nagar sub-division |  |  |  |  | 250 |  | Jaitala | Trimurti nagar | 274031.42 | EE/CNDN/TECH/DPDC-SI/2018-19/29 dt. 25.05.2019 |  | 1) LT Feeder Pillar 4 Way-1 No 2)Lt XLPE Armoured cable 185 sq.mm-250 Rmt
Hon. Shri. Sudhakar Deshmukh | 99 | CNDN | Estimate forconversion of LT Overhead line to underground cable & shifting of pole No B/433/E of DTC 4681413 under Gokulpeth D/C, shankar Nagar Sub-division |  |  |  |  | 70 |  | Gokulpeth | Shankar Nagar | 90323 | EE/CNDN/Tech/DPDC-SI/2018-19/01 dt.25.05.2018 |  |  | L.T. XLPE Armoured cable 70 sq.mm.-100 Rmt
Hon. Shri. Sudhakar Deshmukh | 100 | CNDN | Estimate for replacement of old faulty LT UG Cable from Maratha Mandir feeder pillar to Soyamilk feeder pillar (backfeed cable) under Regent D/C, Regent Sub-division |  |  |  |  | 50 |  | Regent | Regent | 155998 | EE/CNDN/Tech/DPDC-SI/2018-19/02 dt.25.05.2018 |  |  | L.T. XLPE Armoured cable 300 sq.mm.-50 Rmt
Hon. Shri. Sudhakar Deshmukh | 101 | CNDN | Estimate for replacement of old faulty LT UG Cable from Macchimar DP to BSNL quarter at Zero mile under Regent D/C, Regent Sub-division |  |  |  |  | 100 |  | Regent | Regent | 237567 | EE/CNDN/Tech/DPDC-SI/2018-19/03 dt.25.05.2018 |  |  | L.T. XLPE Armoured cable 70 sq.mm.-100 Rmt
Hon. Shri. Devendra Fadanvis | 102 | CNDN | Estimate for Augumentation of 100 KVA to 200 KVA T/F to avoid overloading near Second Bus stop Gopal Nagar DTC 4683143 under Pratap Nagar D/C, Trimurti Nagar Sub-dn. For system improvement | 200 KVA |  |  |  | 10 |  | Trimurti nagar | Trimurti nagar | 327401 | EE/CNDN/TECH/DPDC-SI/2018-19/27 dt. 25.05.2018 |  | 1) L.T. XLPE Armoured cable240 sq.mm.-10 Rmt 2)T/F 200 KVA -1 Nos
179.99