## EE-I
Approved Vendor List for Infra Plan Part-II scheme
Sr.No | Name | item | Approval No.
1 | M/s Vardhaman Cables & Conductor | Cables & conductor | CE Infra/EE-1/Vendors/infra -II/34361 Dt. 18-12-2013
4 | M/s Shreem | CT,PT,NCT,LA,CR Panel,VCB,Capacitor bank | CE Infra/EE-1/Vendors/infra -II/34492-,34495Dt. 19-12-2013
5 | M/s Amcon Power Industries | Battery Set & Battery Charger | CE Infra/EE-1/Vendors/infra -II/34651 Dt. 20-12-2013
6 | M/S K.P Switchgear Howrah | 11/33 KV Isolator,11/22kv A.B Switch, 11/22 KV H.G Fuse | CE Infra/EE-1/Vendors/infra -II/34420 Dt. 18-12-2013
7 | M/s Vinayak Transmission Product | 11Kv,22KV,33KV C&R Panels With & Without Diff. Protection,Indoor & Out Door,& 11KV I/D C&R Capacitor Protection, | CE Infra/EE-1/Vendors/infra -II/ 00813 Dt.09.01.2014
8 | Crompton greves | 11 KV VCB | CE Infra/EE-1/Vendors/infra -II/34386 Dt. 18-12-2013
9 | AshokaBuildcon pvt ltd | PSC POLE | CE Infra/EE-I/Vendors/infra -II/34389 Dt. 18.12.2013
10 | M/s Khatu Shyam Concret Udyog | PSC POLE | CE Infra/EE-1/Vendors/infra -II/34436 Dt. 19-12-2013
11 | Apar Industries Ltd | Cables | CE Infra/EE-I/Vendors/infra -II/34726 Dt. 21-12-2013
13 | M/s Stelmec Ltd | CR Panel | CE Infra/EE-1/Vendors/infra -I/1017 Dt. 10-JAN -2014
14 | M/s Electrocare | 11,22,33KV CR Panel | CE Infra/EE-1/Vendors/infra -I/0296 Dt. 03-JAN -2014
15 | Popular Switchgear | CR Panel | CE Infra/EE-1/Vendors/infra -I/00991 Dt. 10-JAN -2014
16 | Chandresh Cables | 2Cx2.5,4x2.5,12Cx2.5 & 19Cx2.5Sqmm Armoured Cables | CE Infra/EE-1/Vendors/infra -I/01417 Dt. 17-JAN -2014
17 | Shreem | 11KV LA, Capacitor Switch | CE Infra/EE-1/Vendors/infra -II/35332 Dt. 30-12-2013
18 | Shreem | LA of 9KV,18Kv,30KV | CE Infra/EE-1/Vendors/infra -II/35333 Dt. 30-12-2013
19 | Dashmesh Cables | LT XLPE Power Cable,LT PVC Power & Control Cable WP Cable | CE Infra/EE-1/Vendors/infra -II/00593 Dt.07-01-2014
20 | Vishal Cables | LT XLPE Power Cable,LT XLPE Single Core Cable,(Armoured & Unarmoured) LT XLPE Power & Control Cable(Armoured & Unarmoured) WP Cable , A.B.Cable | CE Infra/EE-1/Vendors/infra -II/00626 Dt. 07-1-2014
21 | Tri Tech | 11KV, 22KV AB Switch,11 KV ISO.33KV ISO,11KV H.G,22KVH.G.Fuse | CE Infra/EE-1/Vendors/infra -II/ 00644 Dt.07.01.2014
22 | K.N.G. Wires & Cables Nalagarh Dist- Solan (HP) | LT Armoured Cable 3.5CX50,70,95,120Sqmm,240,185,300,Cable, 4C/16 Sqmm Arm Cable,LT Arm.1C/16,185,300 Sqmm LT Arm.2C/2.5,4C2.5,7C/2.5,12C/2.5,19C/2.5 Sqmm,2C4Sqmm Arm. LT Unarm Cable 1C70,1C120, | CE Infra/EE-1/Vendors/infra -II/ 01318 Dt.16.01.2014
23 | M/s Ketan Enterprises Mumbai | 3.5C 70SQmm ,35 Sqmm,300 Sqmm Cables | CE Infra/EE-1/Vendors/infra -II/ 1180 Dt.15.01.2014
24 | M/S Engineers Enterprises | Isolators & AB Switch | CE Infra/EE-1/Vendors/infra -II/ 01916 Dt.18.01.2014
25 | M/s Marco Cables PVt.Limited | LT XLPE Power Cable,LT PVC Power & Control Cable WP Cable | CE Infra/EE-1/Vendors/infra -II/ 01917 Dt.18.01.2014
26 | Lunkad Aluminium Ltd.jalgaon | AAC Ant,AAC Gnat,AAAC Rabbit,Weasel,ACSR Dog,Rabbit,Weasel, ACSR Panther | CE Infra/EE-1/Vendors/infra -II/ 2048 Dt.20.01.2014
28 | M/S Popular Switchgfear s PVT Ltd | 33KV C&R Panel for Transformer with diff. Protection, 11KV C&R Panel for Capacitor Indoor Type | CE Infra/EE-1/Vendors/infra -II/ 2382 Dt. 23.01.2014
29 | Laxmi Power Cables Pvt Ltd | LT XLPE Cables, LT XLPE Single Core Cable (Armoured & Unarmoured), LT-PVC Power & Control Cables (Armoured & Unarmoured) ,WP Cables and Aerial Bunched Cables | CE Infra/EE-1/Vendors/infra -II/ 03052 Dt. 29.01.2014
30 | Dynamic Cables Pvt Ltd. Jaipur | AAAC , AAC, ACSR Conductors, HT XLPE Cables, LT XLPE Cables, LT XLPE Single Core Cable (Armoured & Unarmoured), LT-PVC Power & Control Cables (Armoured & Unarmoured) ,WP Cables and Aerial Bunched Cables | CE Infra/EE-1/Vendors/infra -II/ 3062 Dt. 29.01.2014
31 | Bharat Electrical Cont.& Manu.PVT.LTD. Sangli | 11KV Horngap Fuse With Pin Insulator | CE Infra/EE-1/Vendors/infra -II/3417 Dt. 01.02.2014
32 | KJV Alloy Conductors Pvt. Limited | AAC Ant & Gnat, AAAC Rabbit, Dog, Raccoon & Weasel & ACSR Dog, , Raccoon & ACSR Panther Conductor | CE Infra/EE-1/Vendors/infra -II/3965 Dt. 05.02.2014
33 | M/s Tubas Wire & Conductors PVT.Ltd. | AAC Ant, Gnat, ACSR Weasel,Rabbit, & Raccon, DOG, Panther | CE Infra/EE-1/Vendors/infra -II/03780 Dt. 03.02.2014
34 | Demsa Vidyut Appliances Pvt.Ltd | 33KV Isolators With & Without E.B. | CE Infra/EE-1/Vendors/infra -II/4227 Dt. 06.02.2014
35 | M/s Polycab Wires PVT.Ltd. | 33/22/11KV XLPEPower Cable,LT XLPE Armoured Power Cable, LT PVC Control & Power Cable | CE Infra/EE-1/Vendors/infra -II/04492 Dt. 10.02.2014
36 | M/s Crompton Greaves Ltd Nashik | 33KV & 22KV 1600Amp Vaccum Circuit Breaker | CE Infra/EE-1/Vendors/infra -II/04471 Dt. 10.02.2014
37 | M/s Goyolene fibres( India) PVT.Ltd. | 3.5Cx240Sqmm LT XLPE Cable | CE Infra/EE-1/Vendors/infra -II/2490 Dt. 23.01.2014
38 | M/S Shiv Priya Cable | 3.5Cx50, 120,185,LT XLPE Cable, 1CX70,120,300 Sqmm,2CX4Sqmm | CE Infra/EE-1/GTP/4222 Dt. 06.02.2014
39 | M/s Goyolene fibres( India) PVT.Ltd. | 3.5Cx120 Sqmm LT XLPE Cable
40 | Shaoo Engineering Works Pvt.Ltd,Howera | 11KV & 22KV A.B.Switch, 11KV 400Amp & 22KV 800Amp Isolator with & 33 KV Isolator 800 Amps,(With & without E.B), | CE Infra/EE-1/Vendors/infra -II/05407 Dt. 15.02.2014
41 | Hind Aluminium Industries Ltd. Silvasa | AAC Ant,Gnat,AAAC Weasel,Dog,Raccoon,& Rabbit & ACSR Rabbit,Weasel,Panther | CE Infra/EE-1/Vendors/infra -II/05132 Dt. 13.02.2014
42 | Panchakari Kayal & Company Howrah | 11KV 400Amp Isolator with EB/Without EB, 33KV 800Amp Isolator with EB /Without EB | CE Infra/EE-1/Vendors/infra -II/06091 Dt. 21.02.2014
43 | M/s Kalpesh Cable Ind.Pvt.Ltd | AAC Ant, Gnat, AAAC Rabbit,Weasel,Dog,& Raccoon, ACSR Dog & Raccoon | CE Infra/EE-1/Vendors/infra -II/7069 Dt. 01.03.2014
44 | M/s Kanti Cables | AAC Ant, Gnat, AAAC Rabbit,Weasel,Dog,& Raccoon, ACSR Raccoon | CE Infra/EE-1/Vendors/infra -II/7068 Dt. 01.03.2014
45 | M/s Kaishori Power Industries Howera | 11KV & 22KV 400Amp A.B.Switch, 11KV Gorngap Fuse 100Amp, 33Kv 800Amp Isolator With & Without EB. | CE Infra/EE-1/Vendors/infra -II/5449 Dt. 15.02.2014
46 | M/s Diamond Power Infra Structure LimitedVadodara Gujarat | LT XLPE 3.5C 35,50,70,120,150,240,300 SQmm & HTXLPE 11KV 95 Sqmm,185SQmm,240Sqmm,200SQmm & 33KV 300SQmm Cable/Control Cable 2C,4C &7C,12C,19C 2.5 SQmm /LTXLPE 1C X 300Sqmm,185SQmm, 16Sqmm Cable | CE Infra/EE-1/Vendors/infra -II/08200 Dt. 10.03.2014
47 | M/s TSV Enterprises Dombivali MIDC Ph II | LT Mini Feeder Pillar with Fuse Base , LT 2/3way,4way,Feeder Pillars &LT 6 way (with /Without ACB) | CE Infra/EE-1/Vendors/infra -II/09201 Dt. 18.03.2014
48 | M/S Galaxi Transmission Pvt. Ltd MIDC Kupwad Block Sangli. | AAAC Rabbit 55 SQmm,Weasel 34 Sqmm ACSR Panther 200Sqmm Conductor | CE Infra/EE-1/Vendors/infra -II/09312 Dt. 19.03.2014
49 | M/S Galaxy Transmission Pvt. Ltd MIDC Kupwad Block Sangli. | AAC Ant & ACSR Dog Conductor | CE Infra/EE-1/Vendors/infra -II/10532 Dt. 29.03.2014
50 | M/s Diamond Power Infra Structure LimitedVadodara Gujarat | 22KV 3cX 95 SQmm,3cX 240 SQmm & 3cX 300 SQmm | CE Infra/EE-1/Vendors/infra -II/10561 Dt. 29.03.2014
51 | M/s J.D Electricals Howera | 11KV & 22KV AB Switch,11KV.G.G.Fuse & 11/22/33 KV Isolator 800Amp. With & Without EB | CE Infra/EE-1/Vendors/infra -II/1101 Dt. 03.04.2014
52 | M/s Power Control Electro Systems Pvt.Ltd. Sangli | 11KV 800/400 Kv Outdoor Vacuum Circuit Breaker | CE Infra/EE-1/Vendors/infra -II/11000 Dt. 03.04.2014
53 | M/s Ruma Isolator Company | 11 KV400AB Switch 11KV H.G.Fuse 100Amp & 33KV Isolator,11/33KV 800/400 Amps Isolator with & Without EB | CE Infra/EE-1/Vendors/infra -II/11263 Dt. 05.04.2014
54 | M/s Ravin Cables Andheri East Mumbai 400093 | LT XLPE 3.5CX 35,50,70,95,120,185,240,300Sq.mm, LT Controlo cable 2C,4C,12C,19Cx2.5 SQmm, LT Single Core Cable 1Cx90,95,120,185,240,300,400Sq.mm | CE Infra/EE-1/Vendors/infra -II/11266 Dt. 05.04.2014
55 | M/s J.D Electricals Howera | 11KV 400Amp Isolator with EB/Without EB, | CE Infra/EE-1/Vendors/infra -II/12033 Dt. 16.04.2014
56 | M/s Steelmec Ltd.Mumbai | 12kv,1250Amp, Outdoor PC VCB | CE Infra/EE-1/Vendors/infra -II/11965 Dt. 16.04.2014
57 | Kalpesh Cable Industries Pvt.Ltd.Dhule | ACSR Panther 200mm2 Conductor | CE Infra/EE-1/Vendors/infra -II/12302 Dt. 19.04.2014
58 | M/s Yamuna Cable Accessories (P) Ltd.Haryana | 11KV Heat Shrinkable Indoor Termination & Straight through joints for 3X 185 Sqmm,22 Kv Sqmm Outdoor Termination for 3x185 Sqmm Cable. 33KV 3X 185 Sqmm Heat Shrinkable Indoor & Outdoor Termination | CE Infra/EE-1/Vendors/infra -II/12462 Dt. 21.04.2014
59 | M/s MMP Industries Limited Village Maregaon, Post Shahpur Dist. Bhandara | AAC Ant & Gnat,ACSR Dog, Raccon, Rabbit, Weasel AAAC 34 Sqmm AAAC 55SQmm Conductor. | CE Infra/EE-1/Vendors/infra -II/12720 Dt. 23.04.2014
60 | M/s Demsa Vidyut Appliances Pvt.Ltd | 11 KV 800 / 400 Amps Isolator with & Without E.B. | CE Infra/EE-1/Vendors/infra -II/12719 Dt. 23.04.2014
61 | M/s Amcon Power Industries Tasgaon Dist. Sangli | 30V 100AH Lead Acid Stationary Battery Set | Revised.CE Infra/EE-1/Vendors/infra -II/14110 Dt. 03.05.2014
62 | M/S Ultracabs (India)Pvt.Ltd.Rajkot Gujrat | 4C,7C,12C,19C X 2.5 SQmm PVC armoured Cable & 4CX 4 Sqmm PVC Armoured Cable | CE Infra/Infra Plan/EEI/GTP/15375 Dt. 17.05.2014
63 | Pristine Switchgears (I) Ltd. Shirval Dist Satara | 11KV 800A, 12.5KA VCB | CE Infra/Infra Plan/EEI/GTP/15580 Dt. 20.05.2014
64 | M/s Lunkad Kables A-49/51 Sahakari Auyogik Vasahat Ajintha Road Jalgaon | AAC Ant, Gnat, ACSR Dog, Weasel | CE Infra/Infra Plan/EEI/GTP/08007 Dt. 07.03.2014
65 | M/s Gupta Power Infrastructure Limited Mumbai | AAAC Weasel,AAC Ant & Gnat | CE Infra/Infra Plan/EEI/GTP/016231 Dt. 26.05.2014
66 | M/s Yamuna Cable Accessories (P) Ltd.Haryana | 1.1KV ''Denson'' Heat shrinkable I/D, O/D termination & Straight through Joint to be mounted on 4CX 16 Sqmm to 3.5CX 400 Sq.mm XLPE Cable | CE Infra/Infra Plan/EEI/GTP/19483 Dt. 17.06.2014
67 | M/s Kataria Industries Pvt. Ltd.Ratlam | AAAC Ant, Gnat,AAAC Weasel Rabbit Raccoon,& Dog,ACSR ,Raccoon,ACSR Dog,ACSR Panther | CE Infra/EE-1/Vendors/infra -II/19480 Dt. 17.06.2014
68 | M/s Power Control Electro System Pvt.Ltd.Kupwad Sangli | 33Kv 1000 Amp Vaccum circuit Breaker ( Outdoor) | CE Infra/EE-1/Vendors/infra -II/19362 Dt. 16.06.2014
69 | M/s Stelmec Ltd.Mumbai | 33kv,1600Amp, Outdoor PC VCB | CE Infra/EE-1/Vendors/infra -II/20504 Dt. 26.06.2014
70 | Ashoka Industries Jaipur | LT XLPE Armoured Cable 3.5 C X 300, 3.5C X 240, 3.5 C X 185, 3.5 C X120, 3.5 C X 95, 3.5 CX 70 Sqmm,1 CX 300, 1 CX185, 1C X70 Sqmm & LT PVC Unarmoured cable:- 3.5 C X 300, 3.5C X 240, 3.5C X 185 sqmm | CE/Infra/EEI/GTP/21335 DT.05-7-2014
71 | M/s. Success Engineers | 63/100/200 KVA Distribution box with kitkat (Rural) & with MCCB (Urban) with Aluminium Busbars | CE/Infra/EEI/Vendors/Infra II/21494 DT.07-7-2014
72 | Rajasthan Transformer & switchgear Jaipur | XLPE Cable 1 C X120/150/185/240 Sqmm, LT XLPE AB Cable 3X25 Sqmm + 1X 16 Sqmm + 1x 25 Sqmm, 3X35 Sqmm + 1X 16 Sqmm + 1x 25 Sqmm,3X50 Sqmm + 1X 16 Sqmm + 1x 35 Sqmm,3X70 Sqmm + 1X 16 Sqmm + 1x 50 Sqmm,LT PVC Control cable 2 C X 2.5 Sqmm. & 4 C X 2.5 Sqmm & ACSR Dog & ACSR Panther Conductor | CE/Infra/EEI/GTP/230803 DT.25-7-2014
73 | M/s. Prathamesh Udyog Nagpur | AAC GNAT & AAC ANT, ASCR RACCON(80Sqmm), ACSR RABBIT(55 Sqmm), ACSR DOG(100 Sqmm), ACSR WEASEL (34 Sqmm), AAAC 34 Sqmm & AAAC 55 Sqmm Conductors | CE/Infra/EEI/GTP/24820 DT.06-8-14
74 | M/s. Rajasthan Cables & Conductors Pvt.Ltd.Jaipur | AAAC Weasel, Rabbit , Raccoon , AAC ANT, AAC GNAT & ACSR Dog, Panther Conductor | CE/Infra/EEI/Vendors/Infra II/25990 DT.16-8-2014
75 | M/s Jyoti Ltd.Vadodara | Ring main unit | CE/Infra/EEI/GTP/27601 DT.03-09-2014
76 | M/s. Lumino Industries Ltd.,Kolkata | AAAC Weasel, Rabbit , Raccoon , AAC ANT, AAC GNAT & ACSR Dog, Panther Conductor | CE/Infra/EEI/GTP/27560 DT.02-09-2014
77 | M/s. Raychame RPG (P) Ltd. Gujarat | 6.5/11KV & 19/33 KV Heat shrink I/D, O/D termination & straight through joint | CE/Infra/EEI/GTP/29320 DT.20-9-2014
78 | M/s Ravin cable | 150 Sq.mm (3 ½ C & 1C) & Arm control cables 2.5 Sq.mm (10 C/7C) | CE/Infra/EEI/GTP/29790 DT.24-9-2014
79 | M/s. Ketan Enterprises | LT XLPE 3.5 C X 50, 95,120,185,240 Sq.mm armoured Cables | CE/Infra/EEI/GTP/29789 DT.24-9-2014
80 | M/s Yamuna Cable Accessories (P) Ltd.Haryana | 11 KV/33 KV I/D;O/D end termination kits & Straight through jointing kits for 3 X 300 sq.mm & 3 X 400 sq.mm XLPE Cable | CE/Infra/EEI/GTP/30448 DT.01-10-2014
81 | M/S. Compaq International Pvt. Ltd.Haryana | 11kV & 33 kV Heat Shrink Straight Joint & Terminations for 3 C XLPE cables | CE/Infra/EEI/GTP/30954 DT.10-10-2014
82 | M/s Galaxy Transmission Pvt Ltd Pune | AAC GNAT | CE/Infra/EEI/GTP/31768 DT.20-10-2014
83 | M/s Popular Switchgear P. Ltd. | 11kV Control & Relay Panel (Outdoor Type) for Outgoing Feeder with meter | CE(Infra)/EE-I/GTP/263/30773 Dt. 09.10.2014
84 | M/s Popular Switchgear P. Ltd. | 11kV Control & Relay Panel (Outdoor Type) for Incomer with meter | CE(Infra)/EE-I/GTP/30972 Dt. 10.10.2014
85 | M/s Chandresh Cable Ltd | PVC armoured control cable7C x 2.5 Sq.mm,4C x 4 sq.mm ,LT XLPE armoured cable 2C x 4 Sq.mm,3.5C x 50,95,120 Sq.mm & 1C x 95,120,240,300 Sq.mm | CE(Infra)/EE-I/GTP/Vendor Approval/31770 Dt. 20.10.2014
86 | M/s Popular Switchgear P. Ltd. | Vendor GTP,Drawing Approval to M/s Popular Switchgear P. Ltd for supply of 22kV Control & Relay Panel(Indoor Type) for Transformer with differential protection & without differential protection for feeder | CE(Infra)/EE –I/GTP/32065 DT. 22.10.2014
87 | M/s Popular Switchgear P. Ltd. | 33kV Control & Relay Panel(Indoor Type) for Transformer with differential protection & without differential protection for feeder without meter | CE(Infra)/EE –I/GTP/ 32256 Dt. 28.10.2014
88 | M/s Ravin Cables Ltd | 11 KV and 22 KV XLPE cable (3 c x 300 sq.mm) | CE(Infra)/EE –I/GTP/33189 Dt. 07.11.2014
89 | M/s Frontier Technologies Ltd | 6.5/11kV Heat Shrinkable Indoor & Outdoor termination & Straight Through Joints for 3C XLPE cable (95 to 300 sq.mm) | CE(Infra)/EE-I/Vendor Approval/33919 Dt. 15.11.2014
90 | M/s Chandresh Cable Ltd | LT XLPE 3.5C x 185,240 & 300 Sq.mm & 1C 70 Sq.mm | CE(Infra)/EE-I/Vendor Approval/35076 Dt. 27.11.2014
91 | M/s.Ultracabs (India) Pvt. Ltd. | LT PVC Armoured Cable 2C x 4 sq.mm & LT XLPE Armoured Cable 3.5C x 50,70,95,120,185,240,300 sq.mm | CE/Infra Plan/ EE-I/ GTP/ 34006 Dt. 17.11.2014
92 | M/s Ravin Cable Ltd | 33 KV HT XLPE cable (3 C x 300 sq.mm) , LT A.B. Cable (3 x 120 sq.mm) , LT PVC Cable 3.5C x 35,50 sq.mm & PVC control cable 2C x 4 sq.mm | CE(Infra)/EE –I/GTP/ 38062 Dt. 23.12.2014
93 | M/s Stelmec Ltd | 11kV Control & Relay Panel for 11kV 1.2MVAR Capacitor Bank | CE(Infra)/EE-I/GTP/01847 Dt. 19.01.2015
94 | M/s Vinayak Transmission P. Ltd. | 22kV Control & Relay Panel(Outdoor Type) for Incoming & Outgoing feeder with meter | CE(Infra)/EE –I/GTP/03597 Dt. 04.02.2015
95 | M/s C & S Electric Ltd | 11kV RMU | CE(Infra)/EE-I/GTP/160/5155 Dt. 20.02.2015
96 | M/s Stelmec Ltd | 11kV Indication Panel | CE(Infra)/EE-I/GTP/7175 Dt. 12.03.2015
97 | M/s Stelmec Ltd | 12kV Outdoor VCB (12kV,1250A,25KA | CE(Infra)/EE-I/GTP/7176 Dt. 12.03.2015
98 | M/s Maktel Control & Systems P. Ltd. | 33kV C & R Panels (Indoor type) for transformer with differential protection & without differential protection and C & R Panel for Feeder with Trivector meter | CE(Infra)/EE –I/GTP/7174 Dt. 12.03.2015
99 | M/s Stelmec Ltd. | 22kV Control & Relay Panel for 22kV 1.2MVAR Capacitor Bank | CE(Infra)/EE –I/GTP/7993 Dt. 18.03.2015
100 | M/s Maruti Wires & Cables Industries | LT XLPE armoured 3.5C x 50,70,95,120 1C x70 ,120 sq.mm & LT PVC copper cable 2C x 2.5 ,4C x 2.5 sq.mm | CE(Infra)/EE-I/Vendor Approval/ 20625 Dt. 22.04.2015
101 | M/S. Venelec Electromech Pvt. Ltd | 11/6.5kV Heat Shrinkable Indoor & Outdoor termination & Straight Through Joints | CE(Infra)/EE-I/Vendor Approval/ 20623 Dt. 22.04.2015
102 | M/s. Chandresh Cable Ltd | LT XLPE armoured 3.5C x 70 sq.mm | CE(Infra)/EE-I/Vendor Approval/ 20585 21.04.2015
103 | M/s Topline Industries (Raj) Unit-II | 11kV & 22kV AB Switch and HG Fuse | CE(Infra)/EE –I/GTP/ 10835 Dt. 15.04.2015
104 | M/s Topline Industries (Raj) Unit-II | 11KV (400A),22KV& 3KV 800 A Isolators | CE(Infra)/EE –I/GTP/ 21727 Dt. 11.05.2015
105 | M/s Goyolene Fibres (India) Pvt.Limited | LT PVC unarmooured / armoured cable copper control cables of sizes 19C x 2.5,12C x 2.5,7C x 2.5,4Cx2.5,4C x 4,2C x 2.5,2C x 4 sq.mm &LT PVC unarmooured / armoured cable aluminum control cables of size 2C x 16 sq.mm | CE(Infra)/EE –I/GTP/ 21470 Dt. 07.05.2015
106 | M/s Goyolene Fibres (India) Pvt.Limited | of LT XLPE Aluminum unarmooured cable of sizes 1Cx16,35,70,95,120,185,300 sqmm , LT XLPE armoured cable of sizes 1Cx16,35,70,95,120,185,300 sqmm ,2C x 16 &50 sqmm,4C x 16 sqmm ,3.5C x35,50,70,95,185 & 300 LT PVC Aluminum unarmooured / armoured cable of sizes 3.5C x 35,50,70,120,185,240 & 300sq.mm | CE(Infra)/EE –I/GTP/ 22513 Dt. 20.05.2015
107 | M/s C&S Electric Ltd | 22kV,1600A Indoor VCB Panel | CE(Infra)/EE –I/Infra-II/ GTP/21987 Dt.13.05.2015
108 | M/s C&S Electric Ltd | 22kV RMU | CE(Infra)/EE –I/GTP/21988 Dt. 13.05.2015
109 | M/s ABB India Ltd | 33kV ,1600A, 25kA Outdoor Type Vacuum Circuit Breaker | CE(Infra)/EE –I/GTP/10682 Dt. 10.04.2015
110 | M/s Popular Switchgear P. Ltd | 33kV,1600A, 25kA Indoor Type Vaccum Circuit Breaker | CE(Infra)/EE –I/GTP/ 10725 Dt. 11.05.2015
111 | M/s Popular Switchgear P. Ltd | 11kV,25kA VCB Indoor Switch Board Panel (2 I/C +1 B/C+ 8 O/G) & 11kV Control Desk (2 I/C +1 B/C+ 8 O/G) | CE(Infra)/EE –I/GTP/ 21726 Dt. 11.05.2015
112 | M/s Popular Switchgear P. Ltd | 22kV, 25kA VCB Indoor Switch Board Panel (2 I/C +1 B/C+ 6O/G) & 22kV Control Desk (2 I/C +1 B/C+ 6O/G) | CE(Infra)/EE –I/GTP/ 21724 Dt. 11.05.2015
113 | M/s Goyolene Fibres (India) Pvt.Limited | LT XLPE Aluminum unarmooured cable of sizes 1Cx16,35,70,95,120,185,300 sqmm , LT XLPE armoured cable of sizes 1Cx16,35,70,95,120,185,300 sqmm ,2C x 16 &50 sqmm,4C x 16 sqmm ,3.5C x35,50,70,95,185 & 300 LT PVC Aluminum unarmooured / armoured cable of sizes 3.5C x 35,50,70,120,185,240 & 300sq.mm | CE(Infra)/EE –I/GTP/ 22513 Dt. 20.05.2015
114 | M/s. Finncab Wires & Cables P. Ltd | LT XLPE Aluminum armooured cable of sizes 3.5Cx 35,70,95,120,185,240,300 sqmm & 1Cx 16,50,185,300 sqmm & LT PVC armoured copper cable of sizes 2Cx 2.5,4Cx2.5,7C x 2.5,12C x 2.5 & 19C x 2.5 sq.mm | CE Infra/EE-IV/Vendors/infra -IV/ 3995 Dt.05.02.2014 CE Infra/EE-IV/Vendors/Infra -IV/ 14710 Dt.09.05.2014 CE Infra/EE-IV/Vendors/infra -IV/14711 Dt09.05.2014
115 | M/s. Ketan Enterprises | LT PVC armoured copper Control Cables of sizes 19C x 2.5, 12C x 2.5,7C x 2.5, 4C x 2.5 ,2Cx 2.5 Sq.mm & 1Cx70,120,300 Sq.mm LT XLPE armoured Cables | CE(Infra)/EE –I/GTP/ 25062 Dt. 04.06.2015
116 | M/s Zenium Cable Ltd | LT XLPE Aluminum Armoured Cables of Sizes 3.5Cx35,50,70,95 ,185 ,240 1Cx70 , 120 & 185sq.mm , LT PVC Armoured Copper Control Cables of Sizes 2Cx4.0, 4Cx2.5, 7Cx2.5& 19Cx2.5 sq.mm | CE(Infra)/EE –I/GTP/ 27018 Dt. 26.06.2015
117 | M/s C&S Electric Ltd | 11kV Indoor VCB Panel (with Breaker) & control Desk 1 I/C + 1 B/C +4 O/G feeders & 2 I/C + 1 B/C + 8 O/G feeders | CE(Infra)/EE –I/GTP/ 28523 Dt. 15.07.2015
118 | M/s C&S Electric Ltd | 33kV,1600A Indoor VCB Panel | CE(Infra)/EE –I/GTP/ 25256 dt 06.06.2015
119 | M/s Crompton Greaves Ltd | 11kV Indoor Switchgear (2I/C+BC+8O/G) | CE(Infra)/EE –I/GTP/26402 Dt. 22.06.2015
120 | M/s Stelmec Ltd | 33kV Control & Relay Panel (Indoor Type) for Transformer without differential protection & Control & Relay for feeder with tri-vector meter | CE(Infra)/EE –I/GTP/25639 Dt. 11.06.2015
121 | Shree Ram Fabrication | 11 kV, 400A , AB Switch & 11 kV,100 Amp Horn Gap Fuse | CE(Infra)/EE –I/GTP/27120 Dt. 28.08.2014
120 | M/s Popular Switchgears Pvt Ltd

## EE-II
Approved Vendor List for Infra Plan Part-II scheme
Sr.No | Name | Item | Approval No.
1 | Hupen fabricators, Nashik | 11/33 KV outdoor CT's, PT's dry type | CE Infra/EE-II/Vendors/infra -II/ 34152/ 16.12.2013
2 | M/s See Megh Industries, Nashik | 63/100 KVA D.B | CE Infra/EE-II/Vendors/infra -II /34952/24.12.2013
3 | Shreem Electric Ltd | 11 KV's CT's | CE Infra/EE-II/Vendors/infra -II /34496/ 19.12.2013
4 | New aquaria electech | 9 KV/ 18 KV & 30KV 10KA LA distribution class | CE Infra/EE-II/Vendors/infra -II /34774/21.12.2013
5 | New aquaria electech | 9 KV/ 18 KV & 30KV 10KA LA | CE Infra/EE-II/Vendors/infra -II /34773/21.12.2013
6 | Prasanna Electrotech, Nashik | Oil cooledoutdoor CT & PT , LTCT,s resin cast | CE Infra/EE-II/Vendors/infra -II /34597/20.12.13
7 | Secure meters ltd,Mumbai | 3 Ph 4 W HT CT static meter | CE Infra/EE-II/Vendors/infra -II /35135/26.12.2013
8 | L & T , Powai | Oil colled CT & PT, LT CT resin cast | CE Infra/EE-II/Vendors/infra -II /34772/21.12.2013
9 | Bharat Electrical, Sangali | 63,100,200 D.B. | CE Infra/EE-II/Vendors/infra -II /3996/05.02.2014
10 | Bharat Electrical, Sangali | 22 Kv 400 amp A.B. Switch | CE Infra/EE-II/Vendors/infra -II /4220/06.02.2014
11 | Bharat Electrical, Sangali | 22KV 100 amp Horn Gap fuse | CE Infra/EE-II/Vendors/infra -II /4221/06.02.2014
12 | M/s Sintex Industries Ltd | SMC 3 Ph Meter box (350X270X200 MM, 400X300X190 MM) | CE Infra/EE-II/Vendors/infra -II /4219/06.02.2014
13 | M/s Skipper Industries | 33/22/11 KV CT, PT & LT resin cast CT | CE Infra/EE-II/Vendors/infra -II /3998/05.02.2014
14 | M/s Shree Engineering Pune | 63/100/200 KVA L.T. Distribution Box (with Copper Bus bar) | CE Infra/EE-II/Vendors/infra -II /3997/05.02.2014
15 | M/S Success Engineers Pune | Feeder Pillars & Dist Box | CE Infra/EE-1/Vendors/infra -II/ 00992 Dt.09.01.2014
16 | M/s Popular Brass Metal works, Nashik | 63/100/200 KVA L.T. Distribution Box (with Copper Bus bar) | CE Infra/EE-1/Vendors/infra -II/ 5520Dt.17.02.2014
17 | M/s Shree Engineering Pune | Mini pillar and 4/6&8 way (with and without ACB) | CE Infra/EE-1/Vendors/infra -II/ 6697Dt.28.02.2014
18 | M/s Sintex Industries Ltd | 1)9 way 1 no. 3 ph I/C and 9 nos. 1 ph O/G or 1 no. 3 ph I/C and 3 nos. 3 ph O/G(size 350X270X200 mm 2) 9 way 1 no. 1 ph I/C and 9 nos. 1 ph O/G or (size 350X270X200mm.) 3)15 way 1 no. 3 ph I/C and 15 nos. 1 ph O/G or 1 no. 3 ph I/C and 5 nos. 3 ph O/G | CE Infra/EE-II/Vendors/infra -II/ 7471Dt.04.03.2014
19 | Bharat Electrical, Sangali | 3 ph 25 KVA DB with kitkat with Al busbar | CE Infra/EE-II/Vendors/infra -II/ 9368 Dt.20.03.2014
20 | Bharat Electrical, Sangali | 3 ph 25 KVA DB with MCCB with Al busbar | CE Infra/EE-II/Vendors/infra -II/ 9367 Dt.20.03.2014
21 | Palsai Battery, Pune | 30 V,100 AH lead acid battery | CE Infra/EE-II/Vendors/infra -II/ 8774 Dt.13.03.2014
22 | Bharat Udyog, Nagpur | 25/63 KVA DB with kitkat | CE Infra/EE-II/Vendors/infra -II/ 9910 Dt.26.03.2014
23 | M/s Ergon Power, Ahmednagar | 11/22/33 KV outdoor oil cooled CT & PT | CE Infra/EE-II/Vendors/infra -II/ 10093Dt.27.03.2014
24 | M/s Bush Electromech & Eng . | 63/100/200 KVA L.T. Distribution Box with kitkat & MCCB (with Copper Bus bar) | CE Infra/EE-II/Vendors/infra -II/ 10827 Dt.02.04.2014
25 | M/s Gargi Transformers | 11/22/33 KV outdoor oil cooled CT & PT | CE Infra/EE-II/Vendors/infra -II/ 11063 Dt.04.04.2014
26 | Mahaluxmi Investment & trading pvt ltd | 63/100 KVA D.B with kitkat & MCCB (with Cu Bus bar) | CE Infra/EE-II/Vendors/infra -II/ 11932 Dt.16.04.2014
27 | M/S Panva Engineering Pvt Ltd | 30V/1000AH Battery set & AC Distribution Board'B' type | CE Infra/EE-II/Vendors/infra -II/ 11966Dt.16.04.2014
28 | Reliance Engineering Company, Nashik | LT dist box and LT feeder pillar | CE Infra/EE-II/Vendors/infra -II/ 12461 Dt.21.04.2014
29 | M/s Prathoma Sitchgear Pvt ltd., Nashik | ACDB 'B' type | CE Infra/EE-II/Vendors/infra -II/ 14356 Dt.06.05.2014
30 | M/s See Megh Industries, Nashik | 1 Ph 15/25 KVA Dist Box with Kitkat & MCCB | CE Infra/EE-II/Vendors/infra -II/ 14793 Dt.09.05.2014
31 | M/S Electrocare Industries,Mumbai | ACDB 'B' type | CE Infra/EE-II/Vendors/infra -II/ 15636 Dt.20.05.2014
32 | M/s Techno associates Vidyut Pvt Ltd. | 33 KV CT and 33 KV PT | CE Infra/EE-II/Vendors/infra -II/ 16681 Dt.30.05.2014
33 | M/s Shriniva Fabrication GTD Pvt Ltd | 100 KVA LT Dist box with kitkat | CE Infra/EE-II/Vendors/infra -II/ 18046 Dt.04.06.2014
34 | M/s Shreem Electric Ltd. | 63/100/200 KVA Dist Box with kitkat and MCCB (Al busbar) | CE Infra/EE-II/Vendors/infra -II/ 18828 Dt.11.06.2014
35 | M/s Reliance Engineering company | 63/100 KVA Dist box with kitkat and MCCB ( Al Busbar) | CE Infra/EE-II/Vendors/infra -II/ 19329 Dt.16.06.2014
36 | M/s Epitrans Electricals Pvt Ltd,Nashik | 11/22/33 KV outdoor oil cooled and dry type CT & PT | CE Infra/EE-II/Vendors/infra -II/ 19481 Dt.17.06.2014
37 | M/s Shreem Electric Ltd. | 33 KV CT and 11 KV CT | CE Infra/EE-II/Vendors/infra -II/ 19767 Dt.19.06.2014
38 | M/s Vijaya Converter,Nashik | 100 KVA LT Dist box with kitkat and MCCB (Al Busbar) | CE Infra/EE-II/Vendors/infra -II/ 19902 Dt.20.06.2014
39 | M/s Kreepa steel Industries,Nashik | 63 KVA DB with MCCB & kitkat and 100 KVA DB with kitkat | CE Infra/EE-II/Vendors/infra -II/ 20501 Dt.26.06.2014
40 | M/s Victor Swithgear pvt ltd.,Nashik | 100/200 KVA DB with MCCB | CE Infra/EE-II/Vendors/infra -II/ 20503 Dt.26.06.2014 |  | Comm | Comp | WIP | Comm | Comp |  | WIP | Comm | Comp | WIP
41 | M/S Success Engineers Pune | 63/100/200 KVA Dist Box with kitkat and MCCB (Al busbar) | CE Infra/EE-II/Vendors/infra -II/ 21494 Dt.07.07.2014
42 | M/S Success Engineers Pune | 1 ph 25 KVA Dist Box | CE Infra/EE-II/Vendors/infra -II/ 22377 Dt.14.07.2014
43 | M/s Industrial Components Corporation, Mumbai | 11/22/33 KV CT and PT | CE Infra/EE-II/Vendors/infra -II/ 23807 Dt.25.07.2014 | Tender Qty | 7 |  |  | 146 |  |  |  | 171 |  |  | 324 | 340.5
44 | M/s Kreepa steel Industries,Nashik | 200 KVA DB with MCCB & kitkat (Al busbar) | CE Infra/EE-II/Vendors/infra -II/ 24129 Dt.31.07.2014
45 | M/s Industrial Components Corporation, Mumbai | 11/22/33 KV oil cooled CT and PT | CE Infra/EE-II/Vendors/infra -II/ 24423 Dt.02.08.2014 | Freezed qty. | 192 |  |  | 217 |  |  |  | 237 |  |  | 646 | 654
46 | M/s Atlanta Electricals ,Navi Mumbai | 11/22/33 KV oil cooled CT and PT | CE Infra/EE-II/Vendors/infra -II/ 24424 Dt.02.08.2014 | Prog. upto 31 St March 14 | 0 | 0 | 0 | 0 | 1.64 |  | 2.6 | 0 | 0.33 | 2.15
47 | Epitrans Electricals Pvt Ltd. | 11 Kv oil cooled CT's (Single bushing) | CE Infra/EE-II/Vendors/infra -II/ 26785 Dt.26.08.2014 | Target Upto April 14 | 0 |  |  | 15 |  |  |  | 15
48 | M/s Kreepa steel Industries,Nashik | 100 KVA Distribution Box with MCCB | CE Infra/EE-II/Vendors Approval/30974 Dt.10.10.2014 | Prog. In April 2014 | 0 | 0 | 0 | 0 | 2.63 |  | 3.6 | 0 | 3.52 | 3.42 |  | 6.15
49 | M/s Shreem Electric Ltd. | 22 kvNeutral Current Transformer (NCT) | CE/Infra/EE-II/GTP/Infra-II/30967 Dt.10.10.2014 | Cumm. Prog Upto 15.5.2014 | 0 | 0 | 0 | 0 | 4.27 |  | 6.2 | 0 | 3.85 | 5.57 |  | 7.02
50 | M/s RMC Switchgears Ltd. | LT 25/63/100 KVA Distribution Box with Kitkat(Rural) | CE/Infra/EE-II/Vendor Approval/32633 Dt.31.10.2014
51 | M/s Shreem Electric Ltd. | 22 Kv PT, 22Kv/110-110V,0.5/3P,50VA/50VA, Oil cooled, Outdoor type | CE/Infra/EE-II/Vendor Approval/Shreem/34927 Dt.26.11.2014
52 | Techno Associates Vidyut Pvt.Ltd. | Outdoor Oil colled 33 KV CT's & PT's for Utilization | CE/Infra/EE-II/Vendor Approval/Techno/35074 Dt.27.11.2014 | [8 empty] | 1.97 |  | 8.12
53 | M/s Bush Electromech Aurangabad | 63 KVA & 100KVA LT Distribution Box (Aluminum Busbar) with KITKAT (Rural) and MCCB & 200KVA LT Distribution Box (Aluminum Bubar) with MCCB | CE/Infra/EE-II/GTP/38263 dt.24.12.2014 | [10 empty] | 11.77
54 | M/s Starlit Electricals Pune | 11KV CT 200/1-1A,15VA/5P10,15/0.5, Oil cooled Outdoor type, 22KV PT, 22KV/110V,50/0.2, Oil cooled Outdoor 33KV CT 800-400/1-1-1A, PS, PS, 20/0.2, Outdoor Oil cooled,33KV CT 250/1A 15/0.2S Outdoor Oil cooled, 33KV/ PT 33KV110-110-110,50/3P,50/0.2, Outdoor Oil cooled | CE/Infra/EE-II/Vendor Approval/Starlit/00285 Dt. 3.01.2015 | [8 empty] | 4.15
55 | M/s Vijaya Converter,Nashik | 100KVA with Aluminium Busbar with MCCB for the supply | CE/Infra/EE-II/GTP/02453 Dt. 27.01.2015 | [8 empty] | 735
56 | Arena Equipement Pvt. Ltd. | 11 KV A.B. Switch & 11 KV Horn Gap Fuse | CE/Infra Plan /EE-II/Vendors/02721 Dt. 29.01.2015
57 | Spark Industries Ahmednagar | 100KVA LT Distribution Box (Aluminum Busbar) MCCB | CE/Infra/EE-II/Vendors/ 4573 Dt. 12.02.2015
58 | GKC Industries | LT Mini Feeder Pillar, 4 Way Feeder Pillar & 6/8 Way Feeder Pillar with HRC fuse | CE/Infra Plan /EE-II/Vendor Approval /GKCI/6034 dtd. 02.03.2015
59 | Pragati Electricals Pvt. Ltd. | 11 KV Outdoor Cycloalipathic Resin Cast CT's & PT and 33 KV Outdoor Oil coooled CT & PT | CE/Infra Plan/EE-II/GTP/10409 Dt. 08.04.2015
60 | Indcoil Transformers Pvt. Ltd. | 11 & 33 KV Outdoor Oil Cooled CT & PTs and LT resin Cast CTs | CE/Infra Plan /EE-II/Vendors/318/8703 Dt. 25.03.2015
61 | M/s. RMC switchgears | Service connection box( Single Phase & Three Phase) | CE/Infra/EE-II/Vendors/21635 Dt. 08.05.2015
62 | Lamco Industries Pvt. Ltd. | 11 KV & 33 KV Lighting Arrestor | CE/Infra Plan /EE-II/GTP/22146 Dt. 15.05.2015
63 | Rehsan Engineering , Nagpur | 63/100 KVA Distribution Box with Kitkat ( Rural) | CE/Infra Plan /EE-II/Vendor Approval /Rehsan/22375 dtd. 18.05.2015
64 | Bharat Udyog, Nagpur | 63 & 100KVA LTDB(Copper Busbar) with MCCB and 100 KVA LTDB (Copper Busbar) with Kitkat | No.CE/Infra Plan/ EE-II/ Vendor Approval/Bharat Udyog/27429 dtd. 02.07.2015
65 | M/s Popular Brass Metal Works,Nashik | 100KVA LTDB with Kitkat (Aluminium Busbar) | CE/Infra Plan /EE-II/Vendor Approval /Popular /800-28371 dtd. 13.07.2015
66 | M/s Pragati Electricals Pvt Ltd. | 11KV Outdoor Cycloalipathic Resin Cast CT’s & PT and 33 KV outdoor oil cooled Dead Tank CTs & PTs | No.CE/Infra Plan/ EE-II/ GTP/28847 Date:20.07.2015
67 | M/s Ashlesha Power Controls Pvt. Ltd. Akola | 63/100/200 KVA Distribution Box with KITKAT (Rural) and 63/100/200 KVA with Distribution Box with MCCB | CE/Infra Plan /EE-II/Vendor Approval /Ashlesha Power/781-29521 dtd. 27.07.2015 | [5 empty] | 0.4 | 0 | 10.9
68 | M/s Engineers Enterprises, Jaipur | 9KA, 5KA Distribution Class LA, 18KV, 5KA Distribution Class LA & 30KA, 10KA Distribution Class LA | No.CE/Infra Plan/ EE-II/ Vendor Approval/Engineers Ent./915/32058 Date: 25.08.2015
69 | M/s. Victor Switchgear Pvt. Ltd. | 63 and 100 KVA Distribution Box with KiKat (Rural)(Aluminum Busbar) | No.CE/Infra Plan/ EE-II/ Vendor Approval/Victor/32046 Date: 25.08.2015 | O | 7608.79 |  | 7350.6238 |  | #REF! | #REF! | #REF!
|  |  |  | R | 7606.76 | 7348.66 | 7348.6626
7606.76
| Paralikar Saw mill Compound, kalyan Bhiwandi Road, Kon Village, tal Bhiwandi, Dist. Thane-421311 |  |  | C | 13.4349 |  | 13.4349
|  |  |  | RC | 7620.1949 |  | 7361.6417
[5 empty] | 11.4049 |  | 11.0179 |  |  | 625.5
[5 empty] | 0.14989 |  | 0.14989 |  | 15
[5 empty] | 13.4349 |  | 12.979
=
CE Infra/EE-IV/Vendors/infra -IV/ 3995 Dt.05.02.2014 CE Infra/EE-IV/Vendors/Infra -IV/ 14710 Dt.09.05.2014 CE Infra/EE-IV/Vendors/infra -IV/14711 Dt09.05.2014
120 | M/s Popular Switchgears Pvt Ltd

## EE-III
Approved Vendor List for Infra Plan Part-II scheme
Sr. No | Name | Item
1 | M/s Bhatinda Ceramics (P) Ltd., | 33 & 11 KV Pin Insulators
2 | M/s M. M. Agarwal | 8 mtr, 9 mtr PSC Pole | Gate No 57, Shirsoli- Pachro Road Jalgoan-425 001
3 | M/s R R Prestress Industries | 8 mtr, 9 mtr PSC Pole
4 | M/s Manchukonda Prakasham Industries India Pvt Ltd. | 8 mtr, 9 mtr PSC Pole
5 | M/s Manchukonda Prakasham Industries India Pvt Ltd. | 8 mtr PSC pole (200 Kg)
6 | M/s Sun Insulators Pvt Ltd | LT Shackle Insulator, LT Stay Insulator, HT Pin Insulator, 11 KV Disc Insulator
7 | M/s Rama Sales Corporation | LT Shackle Insulator, LT Stay Insulator, HT Pin Insulator, 11 KV Disc Insulator
8 | M/s Shri Balajee Prestress Industries | 8 mtr, 9 mtr PSC Pole
9 | M/s Amol Cement Product | 8 mtr, 9 mtr PSC Pole
10 | M/s Prime Ispat Ltd | RSJ Pole
11 | M/s Agrawal Structure Mills Pvt Ltd | RSJ Pole
12 | M/s Indian Structural Corporation | 8 mtr, 9 mtr PSC Pole
13 | M/s Ambica Ceramics Pvt Ltd | Post Insulator (11,22 Kv) Pin Insulator (11,22,33 Kv) Disc Insulator (11 kv 45/70 KN)
14 | M/s JK Prestress Works | 8 mtr, 9 mtr PSC Pole
15 | M/s Rajeev Industries | HT/LT Insulators
16 | M/s Mahamaya Steel Industry Ltd | RSJ Pole
17 | M/s SKS Ispat & Power Ltd | RSJ Pole
18 | M/s. Sarthak Ispat Pvt. Ltd | RSJ pole
19 | M/s Nandan Steels and Power Ltd | RSJ pole
20 | M/s Beton Concrete Products Pvt. Ltd. | PSC Pole
21 | R R Industries | HT/LT Insulators
22 | M/s Versatile Prestress Product | PSC Pole
23 | M/s Gopal Industries | PSC Pole
24 | M/s Om Poles Udyog | PSC Pole
25 | M/s Topline Ceramics Pvt. Ltd. | HT/LT Insulators
26 | M/s. Shri Jayraj Industries | PSC Pole
27 | M/s Reychem RPG (P) Ltd | HT/LT Insulators
28 | M/s Ramraj Prestress Concrete Product, Parbhani | PSC Pole
29 | M/s Ramraj Concrete Udyog, Parbhani | PSC Pole
30 | M/s Ram Kumar Suresh Kumar | RSJ Pole
31 | M/s Epcos India Pvt Ltd | Capacitor bank
32 | M/s Magnewin Energy Pvt. Ltd | Capacitor bank
33 | M/s Ayodhya Agro Industries | PSC Pole
34 | M/s K K Industries | PSC Pole
35 | M/s C. G. Ispat (P) Ltd | RSJ Pole
36 | M/s Maruti Concrete Products | PSC Pole
37 | M/s Tirupati Prestress | PSC Pole
38 | M/s. Balajee Structurals (India) Ltd | RSJ Pole
39 | M/s Gita Concrete Product | PSC Pole
40 | M/s SITE Enterprises | PSC Pole
41 | M/s Marudhar Ceramics Pvt. Ltd. | HT/LT Insulators
42 | M/s Shri Yamuna Pole Industries | PSC Pole
43 | M/s Tirupati Pole Industries | PSC Pole
44 | M/s Harsiddhi Pole Industries | PSC Pole
45 | M/s Radhika Pole Factory | PSC Pole | Khandat Pali, Chiplun Dist - Ratnagiri
46 | M/s Avinash Ispat Pvt Ltd | RSJ Pole
47 | M/s Monnet Ispat & Energy Ltd | RSJ Pole
48 | M/s Vinay Pole Factory | PSC Pole
49 | M/s Vishwajeet Lomte | 11 KV Capacitor Bank
50 | M/s Khyati Ispat Pvt Ltd | RSJ Pole
51 | M/s Concept Enterprises | PSC Pole
52 | M/s Hi Class Insulators Pvt Ltd | HT/LT Insulators
53 | M/s Phoenix Electricals | HT/LT Insulators
54 | M/s Shanti Prestress product pvt Ltd. | PSC Pole
55 | M/s Shree Datta Prestress Pvt Ltd | PSC Pole
56 | M/s Sai Enterprises | PSC Pole
57 | M/s Topline Industries | HT/LT Insulators
58 | M/s Fortune Metaliks | RSJ Pole
59 | M/s Vishwajeet Lomte | Air core series reactor
60 | M/s Tirupati Iron Impex Pvt Ltd | RSJ Pole
61 | M/s Pushpak Infracon Pvt Ltd | RSJ Pole
62 | M/s Malu Prestress | PSC Pole
63 | M/s. Vikram Ceramics Pvt. Ltd | Ht/LT Insulators
64 | M/s. Natraj Prestress | PSC Pole
65 | M/s Mangalam Industrial Corporation | PSC Pole
66 | M/s Patil Prestress Concrete Works | PSC Pole
67 | M/S Yamuna Power & Infrastructure Ltd | HT/LT Insulators
68 | M/s Nutan Ispat & Power Pvt Ltd. | RSJ Pole
69 | M/S Shri Cement Industries | PSC Pole
70 | M/S Pioneer Pultrutech Engineering Pvt Ltd | HT/LT Insulators
71 | M/S Goldstone Infratech Ltd | HT Insulators
72 | M/s Epcos India Pvt Ltd | Capacitor bank
73 | M/S Amrita Precast Prestressed | PSC Pole
74 | M/S Balaji Pole Industries | PSC Pole
75 | M/s Jaldhara | PSC Pole
76 | M/s Vandana Ispat Ltd | RSJ Pole
77 | M/s Vishwajeet Lomte | Automatic Capacitor Switch
78 | M/s Santkrupa Cement Product | PSC Pole
79 | M/s Gopal Pole Industries | PSC Pole
CE Infra/EE-IV/Vendors/infra -IV/ 3995 Dt.05.02.2014 CE Infra/EE-IV/Vendors/Infra -IV/ 14710 Dt.09.05.2014 CE Infra/EE-IV/Vendors/infra -IV/14711 Dt09.05.2014
120 | M/s Popular Switchgears Pvt Ltd

## EE-IV
Approved Vendor List for Infra Plan Part-II scheme
Sr.No | Name | item | Approval No.
EE I
1 | M/s Transfab Power (India) Ltd. | Power Transformer | CE Infra/EE-1/Vendors/infra -II/33665 Dt. 10-12-2013
2 | M/s Transfab Power (India) Ltd. | Distribution Transformer | CE Infra/EE-1/Vendors/infra -II/33666 Dt. 10-12-2013
3 | M/s Telewane Power Equipments Pvt Ltd | Distribution Transformer | CE Infra/EE-1/Vendors/infra -II/33667 Dt. 10-12-2013
4 | M/s Telewane Power Equipments Pvt Ltd | Power Transformer | CE Infra/EE-1/Vendors/infra -II/33668 Dt. 10-12-2013
5 | M/s Vardhaman Cables & Conductor | Cables & conductor | CE Infra/EE-1/Vendors/infra -II/34361 Dt. 18-12-2013
6 | M/s Deltron Electricals | 22KV 100/,200Kva &315,630KvA Dist.T/F | CE Infra/EE-1/Vendors/infra -II/34752 Dt. 21-12-2013 & 34797 Dt.21.12.2013
7 | Manisha Engg Pvt ltd. | 11 KV & 22Kv 100, 200KVA DTC | CE Infra/EE-1/Vendors/infra -II/35290 Dt. 27-12-2013
8 | M/s Shreem | CT,PT,NCT,LA,CR Panel,VCB,Capacitor bank | CE Infra/EE-1/Vendors/infra -II/34492-,34495Dt. 19-12-2013
9 | M/s Amcon Power Industries | Battery Set & Battery Charger | CE Infra/EE-1/Vendors/infra -II/34651 Dt. 20-12-2013
10 | M/s J,K Electricals | Dis. Transformer63,100Kva 11/0.433KV & 63,100Kva 22/0.433KV | CE Infra/EE-1/Vendors/infra -II/34132 Dt. 16-12-2013
11 | M/s East India Udyog | 63,100 KVA,11/0.43 KV Distribution Transformer | CE Infra/EE-1/Vendors/infra -II/34365 Dt. 18-12-2013
12 | M/s East India Udyog | 5 MVA 33/11KV Power Transformer | CE Infra/EE-1/Vendors/infra -II/34424 Dt. 19-12-2013
13 | M/s Nucon Switchgear Pvt.Ltd | 5MVA,33/11Kv Power T/F | CE Infra/EE-1/Vendors/infra -II/34491 Dt. 19-12-2013
14 | M/s Vinayak Transmission Product | 11Kv,22KV,33KV C&R Panels With & Without Diff. Protection,Indoor & Out Door,& 11KV I/D C&R Capacitor Protection, | CE Infra/EE-1/Vendors/infra -II/ 00813 Dt.09.01.2014
15 | Crompton greves | 11 KV VCB | CE Infra/EE-1/Vendors/infra -II/34386 Dt. 18-12-2013
16 | AshokaBuildcon pvt ltd | PSC POLE | CE Infra/EE-I/Vendors/infra -II/34389 Dt. 18.12.2013
17 | M/s Khatu Shyam Concret Udyog | PSC POLE | CE Infra/EE-1/Vendors/infra -II/34436 Dt. 19-12-2013
18 | Apar Industries Ltd | Cables | CE Infra/EE-I/Vendors/infra -II/34726 Dt. 21-12-2013
19 | Manisha Engg. Pvt.Ltd | 10MVA 33/11KV Power Transformer & 10MVA 22/11KV Power Transformer | CE Infra/EE-I/Vendors/infra -II/ 35291 Dt.27 -12-2013
20 | M/s Shree Datta Electricals Engineers & Contractor | 63,100,200 KVA,11/0.43 KV DTC | CE Infra/EE-1/Vendors/infra -II/33669 Dt. 10-12-2013
21 | M/s Stelmec Ltd | CR Panel | CE Infra/EE-1/Vendors/infra -I/1017 Dt. 10-JAN -2014
22 | M/s Electrocare | 11,22,33KV CR Panel | CE Infra/EE-1/Vendors/infra -I/0296 Dt. 03-JAN -2014
23 | Popular Switchgear | CR Panel | CE Infra/EE-1/Vendors/infra -I/00991 Dt. 10-JAN -2014
24 | Chandresh Cables | 2Cx2.5,4x2.5,12Cx2.5 & 19Cx2.5Sqmm Armoured Cables | CE Infra/EE-1/Vendors/infra -I/01417 Dt. 17-JAN -2014
25 | Shreem | 11KV LA, Capacitor Switch | CE Infra/EE-1/Vendors/infra -II/35332 Dt. 30-12-2013
26 | Shreem | LA of 9KV,18Kv,30KV | CE Infra/EE-1/Vendors/infra -II/35333 Dt. 30-12-2013
27 | Dashmesh Cables | LT XLPE Power Cable,LT PVC Power & Control Cable WP Cable | CE Infra/EE-1/Vendors/infra -II/00593 Dt.07-01-2014
28 | Vishal Cables | LT XLPE Power Cable,LT XLPE Single Core Cable,(Armoured & Unarmoured) LT XLPE Power & Control Cable(Armoured & Unarmoured) WP Cable , A.B.Cable | CE Infra/EE-1/Vendors/infra -II/00626 Dt. 07-1-2014
29 | Tri Tech | 11KV, 22KV AB Switch,11 KV ISO.33KV ISO,11KV H.G,22KVH.G.Fuse | CE Infra/EE-1/Vendors/infra -II/ 00644 Dt.07.01.2014
30 | K.N.G. Wires & Cables Nalagarh Dist- Solan (HP) | LT Armoured Cable 3.5CX50,70,95,120Sqmm,240,185,300,Cable, 4C/16 Sqmm Arm Cable,LT Arm.1C/16,185,300 Sqmm LT Arm.2C/2.5,4C2.5,7C/2.5,12C/2.5,19C/2.5 Sqmm,2C4Sqmm Arm. LT Unarm Cable 1C70,1C120, | CE Infra/EE-1/Vendors/infra -II/ 01318 Dt.16.01.2014
31 | M/s Ketan Enterprises Mumbai | 3.5C 70SQmm ,35 Sqmm,300 Sqmm Cables | CE Infra/EE-1/Vendors/infra -II/ 1180 Dt.15.01.2014
32 | M/S Engineers Enterprises | Isolators & AB Switch | CE Infra/EE-1/Vendors/infra -II/ 01916 Dt.18.01.2014
33 | M/s Marco Cables PVt.Limited | LT XLPE Power Cable,LT PVC Power & Control Cable WP Cable | CE Infra/EE-1/Vendors/infra -II/ 01917 Dt.18.01.2014
34 | Lunkad Aluminium Ltd.jalgaon | AAC Ant,AAC Gnat,AAAC Rabbit,Weasel,ACSR Dog,Rabbit,Weasel, ACSR Panther | CE Infra/EE-1/Vendors/infra -II/ 2048 Dt.20.01.2014
35 | M/s Digvijay Industries Aurangabad | 11/0.433Kv 63 KVA & 100KVA DTC | CE Infra/EE-1/Vendors/infra -II/ 2222 Dt. 22.01.2014
36 | M/S Popular Switchgfear s PVT Ltd | 33KV C&R Panel for Transformer with diff. Protection, 11KV C&R Panel for Capacitor Indoor Type | CE Infra/EE-1/Vendors/infra -II/ 2382 Dt. 23.01.2014
37 | Laxmi Power Cables Pvt Ltd | LT XLPE Cables, LT XLPE Single Core Cable (Armoured & Unarmoured), LT-PVC Power & Control Cables (Armoured & Unarmoured) ,WP Cables and Aerial Bunched Cables | CE Infra/EE-1/Vendors/infra -II/ 03052 Dt. 29.01.2014
38 | Dynamic Cables Pvt Ltd. Jaipur | AAAC , AAC, ACSR Conductors, HT XLPE Cables, LT XLPE Cables, LT XLPE Single Core Cable (Armoured & Unarmoured), LT-PVC Power & Control Cables (Armoured & Unarmoured) ,WP Cables and Aerial Bunched Cables | CE Infra/EE-1/Vendors/infra -II/ 3062 Dt. 29.01.2014
39 | Bharat Electrical Cont.& Manu.PVT.LTD. Sangli | 11KV Horngap Fuse With Pin Insulator | CE Infra/EE-1/Vendors/infra -II/3417 Dt. 01.02.2014
40 | KJV Alloy Conductors Pvt. Limited | AAC Ant & Gnat, AAAC Rabbit, Dog, Raccoon & Weasel & ACSR Dog, , Raccoon & ACSR Panther Conductor | CE Infra/EE-1/Vendors/infra -II/3965 Dt. 05.02.2014
41 | M/s Tubas Wire & Conductors PVT.Ltd. | AAC Ant, Gnat, ACSR Weasel,Rabbit, & Raccon, DOG, Panther | CE Infra/EE-1/Vendors/infra -II/03780 Dt. 03.02.2014
42 | Demsa Vidyut Appliances | 33KV Isolators With & Without E.B. | CE Infra/EE-1/Vendors/infra -II/4227 Dt. 06.02.2014
43 | M/s Polycab Wires PVT.Ltd. | 33/22/11KV XLPEPower Cable,LT XLPE Armoured Power Cable, LT PVC Control & Power Cable | CE Infra/EE-1/Vendors/infra -II/04492 Dt. 10.02.2014
44 | M/s Crompton Greaves Ltd Nashik | 33KV & 22KV 1600Amp Vaccum Circuit Breaker | CE Infra/EE-1/Vendors/infra -II/04471 Dt. 10.02.2014
45 | M/s Goyolene fibres( India) PVT.Ltd. | 3.5Cx240Sqmm LT XLPE Cable | CE Infra/EE-1/Vendors/infra -II/2490 Dt. 23.01.2014
45 | M/S Shiv Priya Cable | 3.5Cx50, 120,185,LT XLPE Cable, 1CX70,120,300 Sqmm,2CX4Sqmm | CE Infra/EE-1/GTP/4222 Dt. 06.02.2014
46 | M/s Goyolene fibres( India) PVT.Ltd. | 3.5Cx120 Sqmm LT XLPE Cable
47 | Shaoo Engineering Works Pvt.Ltd,Howera | 11KV & 22KV A.B.Switch, 11KV 400Amp & 22KV 800Amp Isolator with & 33 KV Isolator 800 Amps,(With & without E.B), | CE Infra/EE-1/Vendors/infra -II/05407 Dt. 15.02.2014
48 | Hind Aluminium Industries Ltd. Silvasa | AAC Ant,Gnat,AAAC Weasel,Dog,Raccoon,& Rabbit & ACSR Rabbit,Weasel,Panther | CE Infra/EE-1/Vendors/infra -II/05132 Dt. 13.02.2014
49 | Panchakari Kayal & Company Howrah | 11KV 400Amp Isolator with EB/Without EB, 33KV 800Amp Isolator with EB /Without EB | CE Infra/EE-1/Vendors/infra -II/06091 Dt. 21.02.2014
50 | M/s Kalpesh Cable Ind.Pvt.Ltd | AAC Ant, Gnat, AAAC Rabbit,Weasel,Dog,& Raccoon, ACSR Dog & Raccoon | CE Infra/EE-1/Vendors/infra -II/7069 Dt. 01.03.2014
51 | M/s Kanti Cables | AAC Ant, Gnat, AAAC Rabbit,Weasel,Dog,& Raccoon, ACSR Raccoon | CE Infra/EE-1/Vendors/infra -II/7068 Dt. 01.03.2014
52 | M/s Kaishori Power Industries Howera | 11KV & 22KV 400Amp A.B.Switch, 11KV Gorngap Fuse 100Amp, 33Kv 800Amp Isolator With & Without EB. | CE Infra/EE-1/Vendors/infra -II/5449 Dt. 15.02.2014
EE II
Sr.No | Name | item | Approval No.
1 | Hupen fabricators, Nashik | 11/33 KV outdoor CT's, PT's dry type | CE Infra/EE-II/Vendors/infra -II/ 34152/ 16.12.2013
2 | M/s See Megh Industries, Nashik | 63/100 KVA D.B | CE Infra/EE-II/Vendors/infra -II /34952/24.12.2013
3 | Shreem Electric Ltd | 11 KV's CT's | CE Infra/EE-II/Vendors/infra -II /34496/ 19.12.2013
4 | New aquaria electech | 9 KV/ 18 KV & 30KV 10KA LA distribution class | CE Infra/EE-II/Vendors/infra -II /34774/21.12.2013
5 | New aquaria electech | 9 KV/ 18 KV & 30KV 10KA LA | CE Infra/EE-II/Vendors/infra -II /34773/21.12.2013
6 | Prasanna Electrotech, Nashik | Oil cooledoutdoor CT & PT , LTCT,s resin cast | CE Infra/EE-II/Vendors/infra -II /34597/20.12.13
7 | Secure meters ltd,Mumbai | 3 Ph 4 W HT CT static meter | CE Infra/EE-II/Vendors/infra -II /35135/26.12.2013
8 | L & T , Powai | Oil colled CT & PT, LT CT resin cast | CE Infra/EE-II/Vendors/infra -II /34772/21.12.2013
9 | Bharat Electrical, Sangali | 63,100,200 D.B. | CE Infra/EE-II/Vendors/infra -II /3996/05.02.2014
10 | Bharat Electrical, Sangali | 22 Kv 400 amp A.B. Switch | CE Infra/EE-II/Vendors/infra -II /4220/06.02.2014
11 | Bharat Electrical, Sangali | 22KV 100 amp Horn Gap fuse | CE Infra/EE-II/Vendors/infra -II /4221/06.02.2014
12 | M/s Sintex Industries Ltd | SMC 3 Ph Meter box (350X270X200 MM, 400X300X190 MM) | CE Infra/EE-II/Vendors/infra -II /4219/06.02.2014
13 | M/s Skipper Industries | 33/22/11 KV CT, PT & LT resin cast CT | CE Infra/EE-II/Vendors/infra -II /3998/05.02.2014
14 | M/s Shree Engineering Pune | 63/100/200 KVA L.T. Distribution Box (with Copper Bus bar) | CE Infra/EE-II/Vendors/infra -II /3997/05.02.2014
15 | M/S Success Engineers Pune | Feeder Pillars & Dist Box | CE Infra/EE-1/Vendors/infra -II/ 00992 Dt.09.01.2014
16 | M/s Popular Brass Metal works, Nashik | 63/100/200 KVA L.T. Distribution Box (with Copper Bus bar) | CE Infra/EE-1/Vendors/infra -II/ 5520Dt.17.02.2014
17 | M/s Shree Engineering Pune | Mini pillar and 4/6&8 way (with and without ACB) | CE Infra/EE-1/Vendors/infra -II/ 6697Dt.28.02.2014
18 | M/s Sintex Industries Ltd | 1)9 way 1 no. 3 ph I/C and 9 nos. 1 ph O/G or 1 no. 3 ph I/C and 3 nos. 3 ph O/G(size 350X270X200 mm 2) 9 way 1 no. 1 ph I/C and 9 nos. 1 ph O/G or (size 350X270X200mm.) 3)15 way 1 no. 3 ph I/C and 15 nos. 1 ph O/G or 1 no. 3 ph I/C and 5 nos. 3 ph O/G | CE Infra/EE-II/Vendors/infra -II/ 7471Dt.04.03.2014
EE III
1 | M/s Bhatinda Ceramics (P) Ltd., | 33 & 11 KV Pin Insulators | CE/Infra Plan/EE-III/3837 dated 04.02.2014
2 | M/s M. M. Agarwal | 8 mtr, 9 mtr PSC Pole | CE/Infra Plan/Vendors/3999 dated 05.02.2014
3 | M/s R R Prestress Industries | 8 mtr, 9 mtr PSC Pole | CE/Infra Plan/Vendors/0624 dated 07.01.2014
4 | M/s Manchukonda Prakasham Industries India Pvt Ltd. | 8 mtr, 9 mtr PSC Pole | CE/Infra Plan/Vendors/34090 dated 13.12.2013
5 | M/s Manchukonda Prakasham Industries India Pvt Ltd. | 8 mtr PSC pole (200 Kg) | CE/Infra Plan/Vendors/1115 dated 13.12.2013
6 | M/s Sun Insulators Pvt Ltd | LT Shackle Insulator, LT Stay Insulator, HT Pin Insulator, 11 KV Disc Insulator | CE/Infra Plan/Vendors/1920 dated 18.01.2014
7 | M/s Rama Sales Corporation | LT Shackle Insulator, LT Stay Insulator, HT Pin Insulator, 11 KV Disc Insulator | CE/Infra Plan/Vendors/1919 dated 18.01.2014
8 | M/s Shri Balajee Prestress Industries | 8 mtr, 9 mtr PSC Pole | CE/Infra Plan/Vendors/1918 dated 18.01.2014
9 | M/s Amol Cement Product | 8 mtr, 9 mtr PSC Pole | CE Infra/EE-III/GTP/00415 dated 04.01.2014
10 | M/s Prime Ispat Ltd | RSJ Pole | CE/Infra Plan/Vendors/995 dated 10.01.2014
11 | M/s Agrawal Structure Mills Pvt Ltd | RSJ Pole | CE/Infra Plan/Vendors/625 dated 07.01.2014
12 | M/s Indian Structural Corporation | 8 mtr, 9 mtr PSC Pole | CE/Infra Plan/Vendors/2047 dated 20.01.2014
13 | M/s Ambica Ceramics Pvt Ltd | Post Insulator (11,22 Kv) Pin Insulator (11,22,33 Kv) Disc Insulator (11 kv 45/70 KN) | CE/Infra Plan/Vendors/2080 dated 20.01.2014
14 | M/s JK Prestress Works | 8 mtr, 9 mtr PSC Pole | CE/Infra Plan/Vendors/2337 dated 22.01.2014
15 | M/s Rajeev Industries | HT/LT Insulators | CE/Infra Plan/Vendors/2383 dated 23.01.2014
16 | M/s Mahamaya Steel Industry Ltd | RSJ Pole | CE/Infra Plan/Vendors/2336 dated 22.01.2014
17 | M/s SKS Ispat & Power Ltd | RSJ Pole | CE/Infra Plan/Vendors/623 dated 07.01.2014
18 | M/s. Sarthak Ispat Pvt. Ltd | RSJ pole | CE Infra/ EE III/GTP/25874 Dt. 17.09.2013
19 | M/s Nandan Steels and Power Ltd | RSJ pole | CE/Infra Plan/Vendors/13080 dated 15.01.2014
20 | M/s Beton Concrete Products Pvt. Ltd. | PSC Pole | CE/Infra Plan/Vendors/4570 dated 11.02.2014
21 | R R Industries | HT/LT Insulators | CE/Infra Plan/Vendors/5413 dated 15.02.2014
22 | M/s Versatile Prestress Product | PSC Pole | CE/Infra Plan/Vendors/7997 dated 07.03.2014
23 | M/s Gopal Industries | PSC Pole | CE/Infra Plan/Vendors/7998 dated 07.03.2014
24 | M/s Om Poles Udyog | PSC Pole | CE/Infra Plan/Vendors/7084 dated 01.03.2014
25 | M/s Topline Ceramics Pvt. Ltd. | HT/LT Insulators | CE/Infra Plan/Vendors/7999 dated 07.03.2014
26 | M/s. Shri Jayraj Industries | PSC Pole | CE/Infra Plan/Vendors/7784 dated 05.03.2014
27 | M/s Reychem RPG (P) Ltd | HT/LT Insulators | CE/Infra Plan/Vendors/08085 dated 07.03.2014
EE IV
1 | M/s Transcon Industries | Single Phase 25 KVA Distribution Transformer | CE Infra/EE-IV/Vendors/infra -IV/ 0945 Dt.10.01.2014
2 | M/s Ashoka Electrical,Aurangabad | Single Phase 25 KVA Distribution Transformer | CE Infra/EE-IV/Vendors/infra -IV/ 3338 Dt.31.01.2014
3 | M/s Star Delta Transformers Ltd | 1) Single Phase 25 KVA & 15 KVA Distribution Transformer 2) 100 KVA 11/0.433 V | 1) CE Infra/EE-IV/Vendors/infra -IV/ 3051 Dt.29.01.2014 2) CE Infra/EE-IV/Vendors/infra -IV/ 4987 Dt.12.02.2014 3) CE Infra/EE-IV/Vendors/infra -IV/ 422356 Dt.18.05.2015
4 | M/s URJA Techniques India Pvt. Ltd | 10 MVA & 5 MVA 33/11 KV Power Transformer | CE Infra/EE-IV/Vendors/infra -IV/ 3222 Dt.30.01.2014
5 | M/s Shri Swami Samarth Electrical Industries | 100 /KVA, 200 KVA 11/0.433 V Distribution Transformer | CE Infra/EE-IV/Vendors/infra -IV/ 3995 Dt.05.02.2014 CE Infra/EE-IV/Vendors/Infra -IV/ 14710 Dt.09.05.2014 CE Infra/EE-IV/Vendors/infra -IV/14711 Dt09.05.2014
6 | M/s Silverline Electrical Pvt Ltd | 63 KVA ,100 KVA ,200 KVA,630 KVA 11/0.433 V 63 KVA ,100 KVA,200 315 KVA, 630KVA 22/0.433 V ,630 KVA 22/0.433 kV Indoor ,315 KVA 22/0.433 kV Indoor Distribution Transformer,630 KVA I/D Type ,315 KVA I/D Type | 1) CE Infra/EE-IV/Vendors/infra -II/ 01052 &1053 Dt.10.01.2014 2) CE Infra/EE-IV/Vendors/infra -iv/ 9595 Dt.21.03.2014 3) CE Infra/EE-IV/Vendors/infra -iv/ 27422 Dt.01.09.2014 4) CE Infra/EE-IV/Vendors/infra -iv/ 27421 Dt.01.09.2014 5) CE Infra/EE-IV/Vendors/infra -iv/820 Dt.09.01.2015 6) CE Infra/EE-IV/Vendors/infra -iv/29406 Dt.24.07.2015 7) CE Infra/EE-IV/Vendors/infra -iv/29405 Dt.24.07.2015 8) CE Infra/EE-IV/Vendors/infra -iv/36802 Dt.16.10.2015 7) CE Infra/Infra-II / Vendors/36803 Dt.16.10.2015
7 | M/s Prathmesh Transformers,Sangmaner | 100 KVA 11/0.433 kV Distribution Transformer | CE Infra/EE-IV/Vendors/infra -II/34654 Dt. 20-12-2013
8 | M/s Tesla Transformers Ltd | 1) 5 MVA,10MVA 33/11 KV , 5 MVA 33/22 KV, 10 MVA 22/11 KV Power Transformer 2) 25 KVA,315 KVA 11/0.433 KV, 100 KVA 22/0.433 Kv Dist. Transformer 3)315 KVA 22/0.43 Kv Dist. & 11/0.43 Kv Dist. Transformer 4) 630 KVA 22/0.43 Kv Dist. Transformer 5) 5 MVA , 33/11 KV Power Transformer6) 315 KVA 22/0.433 kV 7) 10 MVA 33/11 kV Power Transformer 8)200 KVA 22/11 kV Dist. Transformer 9) 630 KVA 11/0.43 Kv O/D Dist Transformer 10) 630 KVA 22/0.43 Kv O/D Dist Transformer 11) 630 KVA 11/0.43 Kv I/D Dist Transformer | 1) CE Infra/EE-IV/Vendors/infra -II/34650,34652 Dt. 20-12-2013 2) CE Infra/EE-IV/Vendors/infra -II/12257 Dt. 05.04.2014 3) CE Infra/EE-IV/Vendors/infra -II/12256 Dt. 05.04.2014 4) CE Infra/EE-IV/Vendors/infra -II/12767 Dt. 25.04.2014 5) CE Infra/EE-IV/Vendors/infra -II/31041 Dt. 10.10.2014 6) CE Infra/EE-IV/Vendors/infra -II/4108,4107 Dt. 10.10.2014 7) CE Infra/EE-IV/Vendors/infra -II/21728 Dt. 11.05.2015 8) CE Infra/EE-IV/Vendors/infra -II/22877 Dt. 22.05.2015 9) CE Infra/EE-IV/Vendors/infra -II/27017 Dt. 26.06.2015 10) CE Infra/EE-IV/Vendors/infra -II/26404 Dt. 22.06.2015 11) CE Infra/EE-IV/Vendors/infra -II/30799 Dt. 11.08.2015 12) CE Infra/EE-IV/Vendors/infra -II/30798 Dt. 11.08.2015 13) CE Infra/EE-IV/Vendors/infra -II/30797 Dt. 11.08.2015
9 | M/s IMP Powers Ltd | 5 MVA, 33/11 KV Power Transformer | CE Infra/EE-IV/Vendors/infra -II/34751 Dt. 21-12-2013
10 | M/s Nipun Power Equipments Pvt Ltd | 630 KVA, 22/0.433 V | CE/Infra Plan/EE-IV/34900 Dt 23.12.2013
11 | M/s Power Industries , Ahmednagar | 63 KVA & 100 KVA 11/0.433 V Distribution Transformer | 1)CE Infra/EE-IV/Vendors/infra -II/4357 Dt. 07.02.2014 2)CE Infra/EE-IV/Vendors/infra -II/4358 Dt. 07.02.2014
12 | M/s National Electrical Corporation,Jaipur | 63 KVA,100 KVA, 200 KVA 11/0.433 V & 100 ,200 KVA 22/0.433 V Distribution Transformer | 1) CE/Infra Plan/EE-IV/33099 Dt 05.12.2013 2) CE/Infra Plan/EE-IV/9314,9313,9315 Dt 19.03.2014 3) CE/Infra Plan/494 Dt 06.1.2016
13 | M/s D'rona Rohitra Pvt Ltd | 63KVA, 100 KVA , 200KVA, 315KVA,630KVA 22/0.433KV & 63KVA,100KVA,315KVA,630KVA 11/0.433 Distribution Transformer | 1) CE/Infra Plan/EE-IV/6092 Dt 21.02.2014 2) CE/Infra Plan/EE-IV/8624,8625,8626 Dt 12.03.2014
14 | M/s Rajesh Electro Fabricators & Suppliers | 11 KV/433 V 63 KVA, 100 KVA, 200KVA and 22 KV/433 V 63 KVA, 100KVA, 200 KVA 315 KVA, 630 KVA Distribution Transformer | CE/Infra Plan/EE-IV/6107Dt 21.02.2014
15 | M/s Mahavir Electrical & Engineers | 63 KVA,100 ,200KVA 11/0.433 V Distribution Transformer | 1) CE/Infra Plan/EE-IV/4988 Dt 12.02.2014 2) CE/Infra Plan/EE-IV/25952 Dt 16.06.2015
16 | M/s Diamond Transformers Ltd | 5 MVA,10MVA 33/11 KV Power Transformer | CE/Infra Plan/EE-IV/5675 Dt 18.02.2014
17 | M/s Transfab Power (India) Ltd. | 315 KVA,630 KVA O/D 22/0.433 V & 11/0.433 V 315 KVA,630 KVA I/D 11/0.433 V | CE/Infra Plan/EE-IV/5292,5293 Dt 14.02.2014
18 | M/s Tate Electricals, Baramati | 11 KV/433 V 63 KVA, 100 KVA, 200KVA and 22 KV/433 V 63 KVA, 100KVA Distribution Transformer | CE/Infra Plan/EE-IV/10216,17,18,19,20 Dt 27.03.2014
19 | M/s Nashik Power Equipment | 63 KVA , 100 KVA , 200 KVA,315 KVA 11/0.433 V Distribution Transformer | CE/Infra Plan/EE-IV/11265 Dt 05.04.2014 CE/Infra Plan/EE-IV/24240Dt 27.05.2015
20 | M/s Rajasthan Transformers & Switchgears | 63 KVA , 100 KVA & 200 KVA 11/0.433 V Distribution Transformer 2) 5 MVA 33/11 Kv Power Transformer | CE/Infra Plan/EE-IV/11471/72/73 Dt 09.04.2014 CE/Infra II/Vendor/ 38788 Dt 06.11.2015
21 | M/s Damsa Vidyut Appliances Pvt Ltd | 315 KVA 22/0.433 V Distribution Transformer | CE/Infra Plan/EE-IV/11471/11744 Dt 11.04.2014
22 | M/s Transfab Power (India) Ltd. | Power Transformer | CE Infra/EE-1/Vendors/infra -II/33665 Dt. 10-12-2013
23 | M/s Transfab Power (India) Ltd. | Distribution Transformer | CE Infra/EE-1/Vendors/infra -II/33666 Dt. 10-12-2013
24 | M/s Telewane Power Equipments Pvt Ltd | Distribution Transformer | CE Infra/EE-1/Vendors/infra -II/33667 Dt. 10-12-2013
25 | M/s Telewane Power Equipments Pvt Ltd | Power Transformer | CE Infra/EE-1/Vendors/infra -II/33668 Dt. 10-12-2013
26 | M/s Deltron Electricals | 22KV 100/,200Kva &315,630KvA Dist.T/F | CE Infra/EE-1/Vendors/infra -II/34752 Dt. 21-12-2013 & 34797 Dt.21.12.2013
27 | Manisha Engg Pvt ltd. | 11 KV & 22Kv 100, 200KVA DTC, 1250 KVA 22/0.433 kV Dist. Transformer | 1) CE Infra/EE-1/Vendors/infra -II/35290 Dt. 27-12-2013 2) CE Infra/EE-IV/Vendors/infra -II/31137 Dt. 13.08.2015
28 | M/s J,K Electricals | Dis. Transformer63,100Kva 11/0.433KV & 63,100Kva 22/0.433KV | CE Infra/EE-1/Vendors/infra -II/34132 Dt. 16-12-2013
29 | M/s East India Udyog | 63,100 KVA,11/0.43 KV Distribution Transformer | CE Infra/EE-1/Vendors/infra -II/34365 Dt. 18-12-2013
30 | M/s East India Udyog | 5 MVA 33/11KV Power Transformer | CE Infra/EE-1/Vendors/infra -II/34424 Dt. 19-12-2013
31 | M/s Nucon Switchgear Pvt.Ltd | 5MVA,33/11Kv Power T/F | CE Infra/EE-1/Vendors/infra -II/34491 Dt. 19-12-2013
32 | Manisha Engg. Pvt.Ltd | 10MVA 33/11KV Power Transformer & 10MVA 22/11KV Power Transformer | CE Infra/EE-I/Vendors/infra -II/ 35291 Dt.27 -12-2013
33 | M/s Shree Datta Electricals Engineers & Contractor | 63,100,200 KVA,11/0.43 KV DTC | CE Infra/EE-1/Vendors/infra -II/33669 Dt. 10-12-2013
34 | M/s Mahashakti Energy Ltd | 5 MVA 33/11 KV Power Transformer | CE/Infra Plan/EE-IV/11471/11677 Dt 11.04.2014
35 | M/s Power Electrical & Electronics | 200 KVA 11/0.433 V Distribution Transformer | CE/Infra Plan/EE-IV/11471/12466 Dt 21.04.2014
36 | M/s Deltron Electricals | 63 KVA , 100 KVA & 200 KVA 11/0.433 V Distribution Transformer | CE/Infra Plan/EE-IV/12816,12817,12818 Dt.25.04.2014 & 34797 Dt.21.12.2013
37 | M/s Sabka Transformers Pvt Ltd | 100 KVA 11/0.433 V Distribution Transformer | CE/Infra Plan/EE-IV/14298, 14299 Dt 06.05.2014
38 | M/s Manisha Engineers Pvt Ltd | 63, 315 KVA,100 KVA 22/0.433 V Distribution Transformer 63,315,630 KVA 11/0.433 V Distribution Transformer | CE/Infra Plan/EE-IV/14274 Dt 05.05.2014 CE/Infra Plan/EE-IV/38061 Dt 23.12.2014 CE/Infra Plan/EE-IV/38264 Dt 24.12.2014 CE/Infra Plan/EE-IV/712 Dt 08.01.2015 CE/Infra Plan/EE-IV/707 Dt 08.01.2015 CE/Infra Plan/EE-IV/3241 Dt 02.02.2015
39 | M/s High Rise Transformers | 63 KVA & 100 KVA 11/0.433 V Distribution Transformer | CE/Infra Plan/EE-IV/712 Dt 08.01.2015
40 | M/s Shivshakti Power Devic, pune | 63 KVA,100 KVA,200 KVA,315 KVA,630 KVA 11/0.433 V , 63 KVA,100 KVA,315KVA, 200, 630 KVA 22/0.433 V Distribution Transformer | CE/Infra Plan/EE-IV/15376 Dt.17.05.2014 CE/Infra Plan/EE-IV/15438 - 42 Dt.17.05.2014 CE/Infra Plan/EE-IV/26021 Dt19.08.2014 CE/Infra Plan/EE-IV/26022 Dt19.08.2014 CE/Infra Plan/EE-IV/27157 Dt 28.08.2014 CE/Infra Plan/EE-IV/36983 Dt12.12.2014 CE/Infra Plan/EE-IV/37858 Dt22.12.2014
41 | M/s Shri Ram Switchgears Pvt Ltd | 100 KVA 11/0.433 V Distribution Transformer | CE/Infra Plan/EE-IV/19364 Dt 16.06.2014
42 | M/s Mangal Electrical Ind. Pvt Ltd | 11 KV/R3 KV/250V 25 KVA Distribution Transformer | CE/Infra Plan/EE-IV/20066 Dt 23.06.2014
43 | M/s Rohit Hi-Tech Engineers | 63 KVA , 100 KVA & 200 KVA 11/0.433 V Distribution Transformer | CE/Infra Plan/EE-IV/22203 Dt 11.07.2014
44 | M/s Sunil Industries , Aurangabad | 63 KVA & 100 KVA 11/0.433 V Distribution Transformer | CE/Infra Plan/EE-IV/22127/128 Dt 11.07.2014
45 | M/s Transfab Power (India) Ltd. | 10 MVA 33/11 , 33/22 KV ,22 KV/11 KV Power Transformer | 1) CE/Infra Plan/EE-IV/23998 Dt 28.07.2014 2) CE/Infra Plan/EE-IV/25227 Dt 11.08.2014 3) CE/Infra Plan/EE-IV/26283 Dt 21.08.2014 4) CE/Infra Plan/EE-IV/718 Dt 08.01.2015 (Type Test Re-Approval)
46 | M/s Nanda Transformers Pvt Ltd | 200 KVA & 630 KVA 22/0.433 V Distribution Transformer | CE/Infra Plan/EE-IV/24204,24205 Dt 31.07.2014
47 | M/s Digvijay Industries Aurangabad | 11/0.433Kv 63 KVA , 100KVA,200 KVA DTC | 1) CE Infra/EE-1/Vendors/infra -II/ 2222 Dt. 22.01.2014 2) CE Infra/EE-IV/Vendors/31889 Dt. 21.08.2015
48 | M/s Nashik Transformers Industries | 63 KVA , 100 KVA,200 KVA, 315,630 KVA 11/0.433 V Distribution Transformer | 1.CE/Infra Plan/EE-IV/25447,25448,25449 Dt 13.08.2014 2.CE/Infra Plan/EE-IV/36466 Dt 09.12.2014 3.CE/Infra Plan/EE-IV/6995 Dt 11.03.2015 4.CE/Infra Plan/EE-IV/10658 Dt 10.04.2015
49 | M/s Static Electricals,Pune | 63 KVA, 100 KVA ,200 KVA, 315 KVA , 630 KVA 22/0.433 V & 63 KVA, 100 KVA, 315 KVA,630 KVA 11/0.433 V Distribution Transformer | 1.CE/Infra Plan/EE-IV/26691,92,93,94,95,96 Dt 25.08.2014 2.CE/Infra Plan/EE-IV/29944 Dt 25.09.2014 3.CE/Infra Plan/EE-IV/4111,4112,4106 Dt 07.02.2015
50 | M/s Toshiba Transmission & Distribution Systems Pvt Ltd | 10 MVA 33/11 KVA & 5 MVA 22/11 KV ,33/11 KV Power Transformer | CE/Infra Plan/EE-IV/29321 Dt 20.09.2014 CE/Infra Plan/EE-IV/21527 Dt 07.05.2015 CE/Infra Plan/EE-IV/22357 Dt 18.05.2015
51 | M/s Shubham Mech Pvt Ltd | 63 KVA & 100 KVA 11/0.433 V Distribution Transformer | CE/Infra Plan/EE-IV/31109/31142 Dt 13.10.2014
52 | M/s Trupti Power Projects Pvt Ltd | 63 KVA,100 KVA,200 KVA 11/0.433 V Distribution Transformer | CE/Infra Plan/EE-IV/30531,32 Dt 04.10.2014 CE/Infra Plan/EE-IV/6342 Dt 04.03.2015
53 | M/s Nissar Transformers Pvt Ltd, Pune | 315 KVA , 630 KVA,200 22/0.433 V & 200 KVA,315 KVA, 630 KVA 11/0.433 V Distribution Transformer | 1) CE/Infra Plan/EE-IV/31669 Dt 18.10.2014 2) CE/Infra Plan/EE-IV/31662 Dt 18.10.2014 3) CE/Infra Plan/EE-IV/31663 Dt 18.10.2014 4) CE/Infra Plan/EE-IV/31664 Dt 18.10.2014 5) CE/Infra Plan/EE-IV/36987 Dt 12.12.2014 6) CE/Infra Plan/EE-IV/37309 Dt 17.12.2014
54 | M/s Kalika Industries,Dhule | 63 KVA,100 KVA & 200 KVA 11/0.433 V Distribution Transformer | 1.CE/Infra Plan/EE-IV/34864 Dt 25.11.2014 2.CE/Infra Plan/EE-IV/429 Dt 25.11.2014 3.CE/Infra Plan/EE-IV/430 Dt 25.11.2014
55 | M/s Bharat Electrical,Nagpur | 63 KVA ,100 KVA,200 11/0.433 V Distribution Transformer | 1.CE/Infra Plan/EE-IV/34876 Dt 25.11.2014 2.CE/Infra Plan/EE-IV/34875 Dt 25.11.2014 3.CE/Infra Plan/EE-IV/21194 Dt 30.04.2015
56 | M/s Ramkrishna Electricals Ltd | 100, 200 KVA, 11/0.433 v ,22/0.433 V Distribution Transformer 100 KVA, 11/0.433 V Distribution Transformer | CE/Infra Plan/EE-IV/36467 Dt 09.12.2014 CE/Infra Plan/EE-IV/38348 Dt 26.12.2014 CE/Infra Plan/EE-IV/706 Dt 08.01.2015 CE/Infra Plan/EE-IV/22876 Dt 22.05.2015
57 | M/s Akshaya Engineering Works Pvt Ltd | 630 KVA, 22/0.433 V Distribution Transformer | CE/Infra Plan/EE-IV/37142 Dt 16.12.2014
58 | M/s Mahati Industries Pvt Ltd | 630 KVA, 22/0.433 V Distribution Transformer 10 MVA , 22/0.433 VPowerTransformer | CE/Infra Plan/EE-IV/713 Dt 08.01.2015 CE/Infra Plan/EE-IV/9893 Dt 04.04.2015
59 | M/s Dhananjay Electricals Com. | 63 KVA, 100 KVA 11/0.433KV Distribution Transformer | CE/Infra Plan/EE-IV/6028,30 Dt 02.03.2015 |  | 3800
60 | M/s Allianze Transformers Pvt Ltd | 315 KVA, 11/0.433 V Distribution Transformer | CE/Infra Plan/EE-IV/4109 Dt 07.02.2015
61 | M/s Multi-Trans Industries | 25 KVA,63 KVA,100 KVA,200 KVA,315 KVA 11/0.433 Kv Distribution Transformer | CE/Infra Plan/EE-IV/9074,75,76,77,78,79 Dt 27.03.2015
62 | M/s Panorama Electricals,Thane | 1250 KVA 11/0.433 Kv Distribution Transformer | CE/Infra Plan/EE-IV/10592 Dt 09.04.2015
63 | M/s Dhanalaxmi Equipments | 100 KVA 11/0.433KV Distribution Transformer | CE/Infra Plan/EE-IV/4921 Dt 18.02.2015
64 | M/s Narsinha Engineering Works | 100 KVA 11/0.433KV Distribution Transformer | CE/Infra Plan/EE-IV/21966 Dt 13.05.2015
65 | M/s J,K Electricals | 63 KVA, 100 KVA,200KVA 11/0.433KV Distribution Transformer | CE/Infra Plan/EE-IV/22510,11 Dt 20.05.2015 CE/Infra Plan/EE-IV/24690 Dt 30.05.2015
66 | M/s Renuka Electrical & Controls | 100 KVA 11/0.433KV Distribution Transformer | CE/Infra Plan/EE-IV/24239 Dt 27.05.2015
67 | M/s Telewane Power Equipments Pvt Ltd | 1000 KVA 11/0.433 & 22/0.433 kV Dist. Transformer 630 KVA 11/0.433 & 22/0.433 kV Dist. Transformer 630 KVA 11/0.433 kV Indoor Dist. Transformer 1250 KVA 22/0.433 kV Indoor Dist. Transformer 100 KVA 22/0.433 kV Indoor Dist. Transformer, 10 MVA Power Transformer 33/11 KV | CE/Infra Plan/EE-IV/24237 Dt 27.05.2015 CE/Infra Plan/EE-IV/24238 Dt 27.05.2015 CE/Infra Plan/EE-IV/28132,33 Dt 09.07.2015 CE/Infra Plan/28520 Dt 15.07.2015 CE/Infra Plan/EE-IV/ 29935 Dt 01.08.2015 CE/Infra Plan/EE-IV/ 230573 Dt 07.08.2015 CE/Infra II/Vendor/40992 Dt 05.12.2015
68 | M/s Telewane Power Equipments Pvt Ltd | 11 KV/433 V 1000 KVA, 630 KVA, 315 KVA and 200 KVA VPI Dry Type Cu. Wound Distribution Transformers | CE Infra/EE - IV/Vendor/Infra-II/ 40993 Date : 05.12.2015
69 | M/s. Samruddhi Power & Control Panel Pvt Ltd | 63 & 100 KVA LTDB (Copper Busbar) with Kitkat | CE/Infra II/ EE-IV /Vendor/29937 Date 01.08.2015
70 | M/s Trans-Delta Transformers Pvt Ltd | 100 KVA 11/0.433KV Distribution Transformer | CE/Infra Plan/EE-IV/26883 Dt 26.06.2015
71 | M/s Shaoo Engineerings Works Pvt Ltd | 11 & 22 KV 100 Amp, HG Fuse | CE Infra/Infra-II/Vendor/28652 Dt 16.07.2015
72 | M/s Megha Electrical Services | 100 KVA 11/0.433KV Distribution Transformer | CE/Infra Plan/EE-IV/29769 Dt 30.07.2015
73 | M/s Nirman Transformers Pvt Ltd | 630 KVA 22 kV/ 0.433 V Distribution Transformers | CE Infra/Vendors/Infra-II/33881 Date : 11.09.2015
74 | M/s Zip Engineers Pvt Ltd | 630 KVA 22 kV/ 0.433 V Distribution Transformers | CE Infra/Vendors/Infra-II/2758 Date : 02.09.2015
75 | M/s Classic Enterprises | 6.5/11 kV Heat Shrinkable I/D, O/D Termination & Straight through joints & 1.1 kV Heat Shrinkable I/D, O/D termination & Straight through joints | CE Infra/Vendors/Infra-II/32696 Date : 01.09.2015
76 | M/s Polycab Wires PVT.Ltd. | 11 KV (3Cx 185 sqmm & 3C x 240 sqmm ), 22 KV ( 3C x 185 sqmm , 3C x 240 sqmm & 3C x300 sqmm) & 33 KV (3C x 185 sqmm) cable, 33 KV 3C x 400sqmm HT XLPE Cable | CE/Infra Plan-II/ GTP/ 33998 Date:14.09.2015 CE/Infra Plan-II/ GTP/ 5536 Date:18.02.2016
77 | M/s Polycab Wires PVT.Ltd. | ACSR Weasel (34sqmm), ACSR Rabbit (55 sqmm), ACSR Dog (100 sqmm) & ACSR Panther (200 sqmm) conductors | CE/Infra Plan-II/ GTP/ 33607 Date:08.09.2015
78 | M/s Orange Power T&D Equipment Pvt Ltd | 9kV 5kA and 18kv 5kA Distribution Class & 30kV 10kA Station Class Lightning Arresters | CE/Infra Plan/Vendor Approval/Orange/34166 Dt 16.09.2015
79 | M/s Deltron Electricals | 630 KVA 11 kV/ 0.433 V Distribution Transformers | CE/Infra Plan/EE-IV/29927 Dt 01.08.2015
80 | M/s C & S Electric Ltd | 11 KV & 22 KV RMU's with Additional extensible configuration. | CE/Infra Plan-II/ GTP/34282 Date:18.09.2015
81 | M/s Atul PCC | PSC Pole (8MTR-140 KG) (9MTR -200 KG) | CE/Infra Plan-II/ GTP/34165 Date:16.09.2015
82 | M/s Prassanna Electrical | 11 KV & 33 KV Outdoor Resin Cast Dry Type CT’s and PT’s | CE/Infra Plan-II/ GTP/33955 Date:14.09.2015
83 | M/s Kryfs Power Ltd | 5MVA 33/11 KV Power Transformer | CE/Infra Plan-II/ GTP/30570 Date:07.08.2015
84 | M/s Konark Metal & Wire Conductors Pvt Ltd, | AAAC Conductor AAAC Weasel (34sqmm), AAAC Rabbit(55sqmm), AAAC Raccoon(80sqmm) & AAAC Dog(100sqmm) conductors | CE/Infra Plan-II/ GTP/34904 Date 24.09.2015
85 | M/s Sterlite Technologies Ltd | 11 KV HT XLPE Cable 3C x 300 sqmm | CE/Infra Plan-II/ GTP/35955 Date:07.10.2015
86 | M/s East India Udyog Ltd | 5 MVA 33/11 KV Power Transformer | CE/Infra Plan-II/ GTP/36257 Date:12.10.2015
87 | M/s Gala Shrink Fit | 6.5/11 kV Heat Shrinkable I/D, O/D Termination & Straight through joints & 1.1 kV Heat Shrinkable I/D, O/D termination & Straight through joints | CE/Infra Plan-II/ GTP/36480 Date:14.10.2015
88 | M/s Rama Pottery Works | 1) HT & LT Insulator & Kitkat Fuses 2) HT/LT Polymer Insulator | 1) CE/Infra Plan-II/ GTP/36186 Date:09.10.2015 2) CE/Infra Plan-II/ GTP/18226 Date:06.06.2016
89 | M/s K.K.Powers Controls Pvt Ltd | LT XLPE Cable 1.1 KV (3.5C x 35 sqmm ,3.5C x 70 sqmm ,3.5C x120 sqmm ,3.5C x 185 sqmm, 3.5C x 240 sqmm & 3.5C x300sqmm) | CE/Infra Plan-II/ GTP/37016 Date:17.10.2015
90 | M/s Agarwal Salt Company | HT/LT Porcelain Insulators | CE/Infra Plan-II/ GTP/36185 Date:09.10.2015
91 | M/s Technofiber Industries | LT AB Cable 3C x 25 +1x16+1x25sqmm, 3C x 50 +1x16+1x35 sqmm & 3C x 95+1x16+1x70 sqmm | CE/Infra Plan-II/ GTP/37831 Date:29.10.2015
92 | M/s Vikas Cable | LT XLPE Cable 1.1 KV ( 3.5C x 50 sqmm , 3.5C x 70 sqmm , 3.5C x95sqmm , 3.5C x120 sqmm ,3.5C x 150 sqmm & 3.5C x 185sqmm) | CE/Infra Plan-II/ GTP/38255 Date:02.11.2015
93 | M/s Mahavir Transmission Ltd | AAAC Weasel (34sqmm), AAAC Rabbit (55sqmm), AAAC Raccoon (80sqmm), AAC Ant (50Sqmm), AAC Gnat (25 sqmm), ACSR Dog (100 sqmm) & ACSR Panther (200 sqmm) | CE/Infra Plan-II/ GTP/38254 Date:02.11.2015
94 | M/s Teksons | 30 V ,100 AH Battery Set | CE/Infra Plan-II/ GTP/38730 Date:05.11.2015
95 | M/s Galaxy Transmission Ltd | AAAC Reccoon Conductor (80 sqmm) | CE/Infra Plan-II/ GTP/39225 Date:17.11.2015
96 | M/s Shree Radhe Industries | HT Polymer Pin Insulator | CE/Infra Plan-II/ GTP/40567 Date:01.12.2015 CE/Infra Plan-II/ GTP/42984Date:31.12.2015
97 | M/s Telewane Power Equipments Pvt Ltd | Compact Sub-Station | CE/Infra Plan-II/ GTP/41208 Date:09.12.2015
98 | M/s Havells India Ltd | XLPE Armoured Cable- 3.5 C x 35 sqmm , 3.5 C x 70 sqmm , 3.5 C x 95 sqmm , 3.5 C x 240 sqmm , 3.5 C x 300 sqmm , 3.5 C x 400 sqmm & 1 C x 300 sqmm and PVC Armoured Copper Control Cable- 2 C x 2.5 sqmm,4 C x 2.5 sqmm, 12 C x 2.5 sqmm, 19 C x 2.5 sqmm 2) 33 KV HT XLPE Armoured Cable 3 C x 300 sqmm 3) 3.5Core x 120sqmm, LT XLPE Armored Aluminum cable ,3.5Core x 150sqmm, LT XLPE Armored Aluminum cable,3.5Core x 185 sqmm, LT XLPE Armored Aluminum cable,3Core x 185 sqmm, 6.35/11 KV XLPE Armored Aluminum cable, | 1) CE/Infra Plan-II/ GTP/41291 Date:10.12.2015 2) CE/Infra Plan-II/ GTP/18726 Date:10.06.2016 3) CE/Infra Plan-II/ GTP/23659 Date:27.07.2016 4) CE/Infra Plan-II/ GTP/24661 Date:04.08.2016
99 | Zenium Cables Ltd | 1) LT PVC- (3.5 C x 25 sqmm PVC armoured cable) & PVC Armored copper Control cables- (2C x 2.5 sqmm, 12 C x 2.5 sqmm & 27C x2.5 sqmm) 2) Copper Conductor Control Cables (2 C x 2.5 sqmm , 4 C x 2.5 sqmm ,12 C x 2.5 sqmm ,19 C x 2.5 sqmm ) 3) LT XLPE & PVC Control Cables (1 C x 70 sqmm XLPE, 1 C x 120 sqmm XLPE,1 C x 185 sqmm XLPE, 1 C x 185 sqmm Aluminum, armored cable,2 C x 4 sqmm Solid Aluminum, armored cable) , | 1) CE/Infra Plan-II/ GTP/41400 Date:11.12.2015 2) CE/Infra Plan-II/ GTP/ 4247 Date:06.02.2016 3) CE/Infra Plan-II/ GTP/ 4246 Date:06.02.2016
100 | M/s Balaji Engineers | 11 KV AB Switch & 11 KV H.G Fuse | CE/Infra Plan-II/ GTP/41400 Date:11.12.2015
111 | M/s Shrinivas Fabrication GTD Pvt Ltd | 100 KVA Distribution Box with Kitkat (Rural) | CE/Infra Plan-II/ GTP/42672 Date:23.12.2015
112 | M/s Shree Engineering | 63, 100,200 KVA Distribution Box with MCCB (Urban) | CE/Infra Plan-II/ GTP/42671 Date:23.12.2015
113 | M/s G.D.Met Steel Pvt Ltd | 125 x 70 mm & 100 x 116 mm RSJ Pole | CE/Infra Plan-II/ GTP/42444 Date:22.12.2015
114 | M/s Shrinivas Fabrication GTD Pvt Ltd | 100 KVA Distribution Box with Kitkat (Rural) | CE/Infra Plan-II/ GTP/42672 Date:23.12.2015
115 | M/s Saishree Engineering | 63,100,200 KVA,11/0.43 KV DTC | CE/Infra Plan-II/ GTP/88 Date:01.01.2016 CE/Infra Plan-II/ GTP/89 Date:01.01.2016 CE/Infra Plan-II/ GTP/90 Date:01.01.2016
116 | M/s Naresh Potteries | HT Polymer Pin Insulator | CE/Infra Plan-II/ GTP/838 Date:06.01.2016
117 | M/s Prathmesh Transformers & Engg | 63 KVA & 100 KVA 11/0.433 V Distribution Transformer | CE/Infra Plan-II/ GTP/2031 Date:15.01.2016 CE/Infra Plan-II/ GTP/2082 Date:15.01.2016
118 | M/s Cropton Greaves Ltd | 1) 22 KV VCB panel (I/D) having configurations (2 I/C +1 B/C+ 4 O/G) 2) 22 KV RMU (3 Isolator + 2VCB) | CE/Infra Plan-II/ GTP/2008 Date:14.01.2016 CE/Infra Plan-II/ GTP/2007 Date:14.01.2016 | 50
119 | M/s Eswari Electricals Pvt Ltd | 11 KV & 22 KV RMU | CE/Infra Plan-II/ GTP/2030 Date:15.01.2016
120 | M/s Popular Switchgears Pvt Ltd | Approval to M/s. Popular Switchgears Pvt Ltd for amended approval of IEC 103 protocol relay for utilization under Infra Plan II Scheme. GTP and type test approval for Ashida make numerical 3 Over current & 1 Earth Fault relay & Differential protection relay | CE/Infra Plan-II/ GTP/3053 Date:25.01.2016
121 | M/s Goenka Switchgears Pvt Ltd | 11 KV C & R panel & 33 kV control & Relay Panel (Indoor Type) for Transformer with differential protection & without differential protection and C&R panel | CE/Infra Plan-II/ GTP/4195 Date:05.02.2016 CE/Infra Plan-II/ GTP/6846 Date:01.03.2016
122 | M/s Prabhakar Electricals | 63 KVA & 100 KVA LTDB / LT Mini Feeder Pillar, 4 way Feeder Pillar & 6Way Feeder Pillar with HRC fuse | CE/Infra Plan-II/ GTP/5343 Date:17.02.2016 CE/Infra Plan-II/ GTP/6848 Date:01.03.2016
123 | M/s Shree Cement Products | PSC Pole (8MTR-140 KG) (9MTR -200 KG) | CE/Infra Plan-II/ GTP/5537 Date:18.02.2016
124 | M/s Janki Electromech | 63 KVA and 100 KVA LT Distribution Box (Aluminum Bus) with Kitkat | CE/Infra Plan-II/ GTP/6609 Date:26.02.2016
125 | M/s Shree Saisiddhi Cement Product | PSC Pole (8MTR-140 KG) (9MTR -200 KG) | CE/Infra Plan-II/ GTP/6623 Date:26.02.2016
126 | M/s Ravin Cable Ltd | 1) 3Core x x 400sqmm, 22 kV HT cable 2) 3Core 185, 6.35/11 lV Aluminum HT XLPE Cable | 1) CE/Infra Plan-II/ GTP/6847 Date:01.03.2016 2) CE/Infra Plan-II/ GTP/25030 Date:08.08.2016
127 | M/s Sunlite Cable Industries | LT Armoured Cable & PVC Armoured Copper Control Cable | CE/Infra Plan-II/ GTP/7594 Date:08.03.2016
128 | M/s Popular Brass Metal Works | 160A HRC Fuse Link & 100A Kit Kat | CE/Infra Plan-II/ GTP/7685 Date:09.03.2016
129 | M/s J.K.Pole Industry | 8 MTR 140 KG | CE/Infra Plan-II/ GTP/7830 Date:10.03.2016
130 | M/s Finolex Cables Ltd | 11 kV 3C x 95 sqmm & 22 kV 3 C x 300 sqmm HT XLPE armored cable | CE/Infra Plan-II/ GTP/8227 Date:16.03.2016
131 | M/s Electrolite cable industries | Armoured PVC LT Power & Copper conductor cable | CE/Infra Plan-II/GTP/9924 Date: 02.04.2016
132 | M/s Success Engineers | 33,22&11 Control & Realay Panel | CE/Infra Plan-II/GTP/9927 Date: 02.04.2016
133 | M/s Success Engineers | 33,22&11 Control & Realay Panel for diffrential protection of transformer | CE/Infra Plan-II/GTP/9925 Date: 02.04.2016
134 | M/s KEI Industries Ltd | 1) LT PVC armoured Cable & Lt XLPE armoured cable 2) armored aluminum XLPE Cable (3.5C x 300 Sqmm, 3.5C x 240sqmm, 3.5C x 185 sqmm, 3.5C x 120sqmm, 3.5C x 70 sqmm, 3.5C x 50sqmm,3.5 C x 25sqmm ) and & Armored PVC copper Control cables (2C x16sqmm, 2C x 2.5sqmm, 7C x 2.5sqmm, 19C x 2.5sqmm, 27C x 2.5sqmm & 2C x 4 sqmm) | 1) CE/Infra Plan-II/GTP/9926 Date: 02.04.2016 2)CE/Infra Plan-II/GTP/17389 Date: 30.05.2016
135 | M/s Thombre Cement Product | PSC Pole (8MTR-140 KG) (9MTR -200 KG) | CE/Infra Plan-II/GTP/9928 Date: 02.04.2016
136 | M/s Akshaya Engineering Works Pvt Ltd | 315 KVA 22/0.433 V Distribution Transformer | CE/Infra Plan-II/GTP/11393 Date: 20.04.2016
137 | M/s Vision Vidyut Engineers Pvt Ltd | 315 KVA & 1000 KVA 11/0.433 V Distribution Transformer 2) 630 KVA 22/0.433 kV O/D Distribution Transformer | 1) CE/Infra Plan-II/GTP/11940 Date: 27.04.2016 2) CE/Infra Plan-II/GTP/21200 Date: 04.07.2016
138 | M/s ABB Ltd | 11 KV Outdoor Breaker | CE/Infra Plan-II/GTP/11945 Date: 27.04.2016
139 | M/s Reliance Engineering Copany | 63/100 KVA LTDB with MCCB & with M/s DLV Switchgears | CE/Infra Plan-II/GTP/11948 Date: 27.04.2016 CE/Infra Plan-II/GTP/18525 Date: 09.06.2016
140 | M/s Pioneer Industries | 100 KVA & 200 KVA 11/0.433 V Distribution Transformer | CE/Infra Plan-II/GTP/13903 Date: 17.05.2016
141 | M/s Pratik Enterprises & Contractors | 315 KVA 11/0.433 kV Distribution Transformer | CE/Infra Plan-II/GTP/14230 Date: 19.05.2016
142 | M/s Vikram Power Techologies Pvt Ltd | HT Polymer Insulator | CE/Infra Plan-II/GTP/21504 Date: 07.05.2016