## Scheduled Outage Information_Re
Name of Discom: MSEDCL
Scheduled Outage Information
Details of Power Shut Down due to maintenance of Distribution System from 26.11.2016 TO 02.12.2016
SR. No. | Date of outage | Name of Town | Name of Power House (Sub-station) | Name of Feeder | Area Affected | From (HH:MM) | To (HH:MM)
1 | 2016-11-26 | SINNAR | 184042-MUSALGAON | 201-IND 1 | a n ind | 10:00 | 17:00
2 | 2016-11-28 | GREATER MUMBAI | 283005-22 KV A AMBERNATH SWITCHING STATION | 304-CHINCH PADA | MIRCHI WADI | 11:00 | 15:00
3 | 2016-11-30 | NAGPUR | 162262-11 KV CONGRESS NGR SW/STN | 205-11kv Chhoti Dhantoli | arjun palace | 09:00 | 12:00
4 | 2016-11-30 | NAGPUR | 162263-11KV AJANI SWITCHING STATION | 206-11 KV Sai Mandir | VIKAS NAGAR | 09:00 | 12:00
5 | 2016-11-30 | NAGPUR | 162606-11KV VNIT | 223-11KV LAXMI NAGAR | Swapnil Trisha-1 | 10:00 | 13:00
6 | 2016-11-30 | NAGPUR | 164802-33 KV CHATTRAPATI | 202-11KV Chichabhawan | Eshan Apartment | 09:00 | 12:00
7 | 2016-11-30 | NAGPUR | 164805-33 KV AMRAVATI ROAD | 215-11KV TILAK NAGAR | DINESH MADAVI | 10:00 | 13:00
8 | 2016-11-30 | NAGPUR | 164824-33 KV Nildoh Industrial S/stn | 203-Varsha feeder | A.V.minerals | 12:00 | 16:00
9 | 2016-11-30 | NAGPUR | 167015-132KV HINGNA II | 203-11 KV NILDOH | nildoh | 12:00 | 16:00
Note: Feeders other than above are not availing scheduled outages.